## Working Volume Calculator
Effluent Storage: Working Volume Calculator
Instructions THIS CALCULATOR IS TO BE USED IN COMBINATION WITH THE DAIRY EFFLUENT STORAGE CALCULATOR. IT DOES NOT REPLACE IT. Follow the steps stated and enter data into the green boxes as labelled below. This input data will generate the "Total Working Volume" of the effluent pond in Step 4 below the pond diagram. The "Total Working Volume" relates to the volume generated by the Dairy Effluent Storage Calculator. The "Pond Surface Area per Cow" relates to the new pond surface area in the 'Pond' input tab of the Dairy Effluent Storage Calculator. Additional data can be found in the data boxes below.
| Step 1: | Choose the Shape of the Effluent Facility |  |  |  | Square or Rectangular |  | Square or Rectangular | Circular | Saucer (Cone)
| Step 2: | Not used for Square or Rectangular option |  |  |  | Circumference |  |  | Circumference | Diameter
| Step 3: | Enter the Dimensions into the green boxes below
|  |  | Herd Size |  | Top Length (m) |  | Top Width (m)
|  |  | 10 |  | 32 |  | 32
Top of Pond Edge
| Batter Angle __:1 | [7 empty] | Freeboard Height (m)
(Horizontal : Vertical)
| 2 | [7 empty] | 0.5
Total Depth (m)
| 3 | [7 empty] | Unpumpable /Sludge Depth (m)
0.5
| Step 4: | Read the Specific Pond Volume & Dimension Outputs Below.
|  | Total Working Volume |  | 1362.6667 | m³ |  | Percentage of Total Volume | 66.02%
|  | Pond Surface Area per Cow |  | 102.4 | m²/cow
|  | Total Pond Surface Area |  | 1024 | m²
Volume of Pond Sections
|  |  | Total Pond Volume | 2064 | m³
|  |  | Volume of Freeboard | 480.6667 | m³ |  | Percentage of Total Volume | 23.29%
|  |  | Volume of Unpumpable/Sludge Area | 220.6667 | m³ |  | Percentage of Total Volume | 10.69%
Total Pond Dimensions
|  |  |  | Pond dimensions at top of pond |  |  | Dimensions of floor of pond
|  |  | Width (m) | 32 | m |  | 20 | m
|  |  | Length (m) | 32 | m |  | 20 | m
|  |  | Depth (m) | 3 | m
|  |  | Batter Angle (H:V) | 2 | :1
Disclaimer: DairyNZ Limited endeavours to ensure that the information in this publication is accurate and current. However, we do not accept liability for any error or omission. The information that appears in this publication is intended to provide the best possible dairy farm management practices, systems and advice that DairyNZ has access to. It may be subject to change at any time, without notice. DairyNZ Limited takes no responsibility whatsoever for the currency and/or accuracy of this information, its completeness or fitness for purpose.
Version 4: May 2014 | [8 empty] | Page 1
Effluent Storage: Making A Pond Volume Gauge
Instructions THIS CALCULATOR IS TO BE USED IN COMBINATION WITH THE DAIRY EFFLUENT STORAGE CALCULATOR. IT DOES NOT REPLACE IT. Fill in the correct pond dimensions into the "Working Volume Calculator" above. Now you can view the dimensions in 'Box 1' below to show the batter lengths of each section. Use 'Box 2' to create your coloured 'Pond Volume Gauge'. The measurements to the right show the length of the gauge from the top edge of the pond. Mark the sections as indicated by the coloured strip with black, red, orange, green and black.
Box 1: Making A Pond Volume Gauge
Top of Pond Edge
Last 1/4 (m)
| Freeboard Batter Length (m) | [7 empty] | 0.89443
1.118
3rd 1/4 (m)
| Total Length of Batter (m) | [7 empty] | 1.0062
| 6.7082 | [7 empty] | 2nd 1/4 (m)
1.1628
Unpumpable /Sludge Batter Length (m)
First 1/4 (m)
| 1.118 | [7 empty] | 1.4087
Box 2: Measurements for the Pond Gauge
|  | Freeboard |  |  |  |  | Full (m)
1.118
|  | Last Quarter |  |  |  | 3/4 Full (m)
2.0125
|  | Third Quarter |  |  |  |  | Half Full (m)
3.0187
|  | Second Quarter |  |  |  | 1/4 Full (m)
4.1814
|  | First Quarter |  |  |  |  | Empty (m)
5.5902
|  | Sludge/Unpumpable Layer |  |  |  | Pond Base (m)
6.7082
You can build the gauge yourself using a piece of liner off-cut, alkathene pipe, a rope with flags or ear tags, or paint on the emergency ladder. We do not recommend painting directly onto synthetic liners without contacting the liner supplier as this may compromise any product warranties. Ensure that the gauge is appropriately fastened at the top and base of the pond so it cannot get tangled in stirrers or pumps.
Disclaimer: DairyNZ Limited endeavours to ensure that the information in this publication is accurate and current. However, we do not accept liability for any error or omission. The information that appears in this publication is intended to provide the best possible dairy farm management practices, systems and advice that DairyNZ has access to. It may be subject to change at any time, without notice. DairyNZ Limited takes no responsibility whatsoever for the currency and/or accuracy of this information, its completeness or fitness for purpose.
Version 4: May 2014 | [8 empty] | Page 2
Working Volume
Freeboard
Unpumpable/Sludge Area
Working Volume
Freeboard
Unpumpable/Sludge Area
These measurements are all taken on the angle of the batter.
Using these colours for marking will match your DairyNZ Effluent Storage Pond Gauge magnet.
These measurements are all taken from the top edge of the pond or tank.
Storage is FULL when the red area is covered. Freeboard area is NOT storage.
Aim to 'Keep it in the green' but ensure conditions are right for spreading effluent.
Note on E16: When using this tool with the Dairy Effluent Storage Calculator ensure this value is the same as what is entered into the 'Wash water' input tab.
Note on C24: The batter angle refers to the horizontal measurement for each 1 metre of vertical rise of the pond bank. Note: an input of 0 (0:1) should be used for a vertical walled tank.
Note on K24: Freeboard is the height difference between the maximum volume (the point where the pond overflows) and the maximum safe level to fill the pond. This reduces risk of effluent overflow during from wave action during wind or stirring. This value may be determined by your Regional Council or Effluent Resource Consent Conditions. 0.3-0.5m is the common range of values.
Note on C28: This depth is from the top edge of the pond to the base of the pond.
Note on K30: This volume will depend on the minimum depth of effluent the pump can operate in or allowance for sludge accumulation. 0.5m is a common value.

## Sheet1
Batter |  |  | Top Length | Top Width | Depth | Req. Volume | Calc. Volume | Difference² | Batter Measurement | Gauge Length to Mark | 1
2 |  | Freeboard | 32 | 32 | 0.5 |  |  |  | 1.118 | 1.118
2 |  | Top 1/4 | 30 | 30 | 0.4 | 340.6667 | 341.1413 | 0.22531 | 0.89443 | 2.0125
2 |  | 2nd 1/4 | 28.4 | 28.4 | 0.45 | 340.6667 | 340.434 | 0.054134 | 1.0062 | 3.0187
2 |  | 3rd 1/4 | 26.6 | 26.6 | 0.52 | 340.6667 | 339.9105 | 0.57171 | 1.1628 | 4.1814
2 |  | Last 1/4 | 24.52 | 24.52 | 0.63 | 340.6667 | 341.1808 | 0.26432 | 1.4087 | 5.5902
2 |  | Sludge | 22 | 22 | 0.5 |  |  |  | 1.118 | 6.7082
2 |  | Base | 20 | 20
2 |  |  |  |  | 3
Top 1/4 | 0 | 0.005 | 0.01 | 0.015 | 0.02 | 0.025 | 0.03 | 0.035 | 0.04 | 0.045 | 0.05 | 0.055 | 0.06 | 0.065 | 0.07 | 0.075 | 0.08 | 0.085 | 0.09 | 0.095 | 0.1 | 0.105 | 0.11 | 0.115 | 0.12 | 0.125 | 0.13 | 0.135 | 0.14 | 0.145 | 0.15 | 0.155 | 0.16 | 0.165 | 0.17 | 0.175 | 0.18 | 0.185 | 0.19 | 0.195 | 0.2 | 0.205 | 0.21 | 0.215 | 0.22 | 0.225 | 0.23 | 0.235 | 0.24 | 0.245 | 0.25 | 0.255 | 0.26 | 0.265 | 0.27 | 0.275 | 0.28 | 0.285 | 0.29 | 0.295 | 0.3 | 0.305 | 0.31 | 0.315 | 0.32 | 0.325 | 0.33 | 0.335 | 0.34 | 0.345 | 0.35 | 0.355 | 0.36 | 0.365 | 0.37 | 0.375 | 0.38 | 0.385 | 0.39 | 0.395 | 0.4 | 0.405 | 0.41 | 0.415 | 0.42 | 0.425 | 0.43 | 0.435 | 0.44 | 0.445 | 0.45 | 0.455 | 0.46 | 0.465 | 0.47 | 0.475 | 0.48 | 0.485 | 0.49 | 0.495 | 0.5 | 0.505 | 0.51 | 0.515 | 0.52 | 0.525 | 0.53 | 0.535 | 0.54 | 0.545 | 0.55 | 0.555 | 0.56 | 0.565 | 0.57 | 0.575 | 0.58 | 0.585 | 0.59 | 0.595 | 0.6 | 0.605 | 0.61 | 0.615 | 0.62 | 0.625 | 0.63 | 0.635 | 0.64 | 0.645 | 0.65 | 0.655 | 0.66 | 0.665 | 0.67 | 0.675 | 0.68 | 0.685 | 0.69 | 0.695 | 0.7 | 0.705 | 0.71 | 0.715 | 0.72 | 0.725 | 0.73 | 0.735 | 0.74 | 0.745 | 0.75 | 0.755 | 0.76 | 0.765 | 0.77 | 0.775 | 0.78 | 0.785 | 0.79 | 0.795 | 0.8 | 0.805 | 0.81 | 0.815 | 0.82 | 0.825 | 0.83 | 0.835 | 0.84 | 0.845 | 0.85 | 0.855 | 0.86 | 0.865 | 0.87 | 0.875 | 0.88 | 0.885 | 0.89 | 0.895 | 0.9 | 0.905 | 0.91 | 0.915 | 0.92 | 0.925 | 0.93 | 0.935 | 0.94 | 0.945 | 0.95 | 0.955 | 0.96 | 0.965 | 0.97 | 0.975 | 0.98 | 0.985 | 0.99 | 0.995 | 1 | 1.005 | 1.01 | 1.015 | 1.02 | 1.025 | 1.03 | 1.035 | 1.04 | 1.045 | 1.05 | 1.055 | 1.06 | 1.065 | 1.07 | 1.075 | 1.08 | 1.085 | 1.09 | 1.095 | 1.1 | 1.105 | 1.11 | 1.115 | 1.12 | 1.125 | 1.13 | 1.135 | 1.14 | 1.145 | 1.15 | 1.155 | 1.16 | 1.165 | 1.17 | 1.175 | 1.18 | 1.185 | 1.19 | 1.195 | 1.2 | 1.205 | 1.21 | 1.215 | 1.22 | 1.225 | 1.23 | 1.235 | 1.24 | 1.245 | 1.25
Req Vol | -1022 | -1008.509 | -995.036 | -981.5809 | -968.1439 | -954.7247 | -941.3236 | -927.9403 | -914.575 | -901.2275 | -887.898 | -874.5863 | -861.2925 | -848.0166 | -834.7585 | -821.5182 | -808.2958 | -795.0912 | -781.9043 | -768.7353 | -755.584 | -742.4505 | -729.3347 | -716.2367 | -703.1564 | -690.0938 | -677.0488 | -664.0216 | -651.0121 | -638.0202 | -625.046 | -612.0894 | -599.1505 | -586.2291 | -573.3254 | -560.4393 | -547.5707 | -534.7197 | -521.8863 | -509.0704 | -496.272 | -483.4912 | -470.7278 | -457.982 | -445.2536 | -432.5427 | -419.8493 | -407.1734 | -394.5148 | -381.8737 | -369.25 | -356.6437 | -344.0548 | -331.4832 | -318.9291 | -306.3922 | -293.8728 | -281.3706 | -268.8858 | -256.4182 | -243.968 | -231.535 | -219.1193 | -206.7209 | -194.3397 | -181.9758 | -169.629 | -157.2995 | -144.9871 | -132.692 | -120.414 | -108.1532 | -95.9095 | -83.683 | -71.4736 | -59.2812 | -47.106 | -34.9479 | -22.8069 | -10.6829 | 1.424 | 13.5139 | 25.5867 | 37.6426 | 49.6814 | 61.7033 | 73.7081 | 85.696 | 97.6669 | 109.6209 | 121.558 | 133.4781 | 145.3814 | 157.2677 | 169.1372 | 180.9897 | 192.8255 | 204.6443 | 216.4464 | 228.2316 | 240 | 251.7516 | 263.4864 | 275.2045 | 286.9057 | 298.5902 | 310.258 | 321.9091 | 333.5434 | 345.1611 | 356.762 | 368.3463 | 379.9139 | 391.4648 | 402.9991 | 414.5167 | 426.0178 | 437.5022 | 448.9701 | 460.4213 | 471.856 | 483.2741 | 494.6757 | 506.0607 | 517.4292 | 528.7812 | 540.1168 | 551.4358 | 562.7383 | 574.0244 | 585.294 | 596.5472 | 607.7839 | 619.0043 | 630.2082 | 641.3958 | 652.5669 | 663.7217 | 674.8601 | 685.9822 | 697.088 | 708.1774 | 719.2506 | 730.3074 | 741.348 | 752.3722 | 763.3803 | 774.372 | 785.3476 | 796.3069 | 807.25 | 818.1769 | 829.0876 | 839.9822 | 850.8605 | 861.7227 | 872.5688 | 883.3988 | 894.2126 | 905.0104 | 915.792 | 926.5576 | 937.3071 | 948.0405 | 958.7579 | 969.4593 | 980.1446 | 990.8139 | 1001.4673 | 1012.1046 | 1022.726 | 1033.3314 | 1043.9209 | 1054.4944 | 1065.052 | 1075.5938 | 1086.1196 | 1096.6295 | 1107.1235 | 1117.6017 | 1128.064 | 1138.5105 | 1148.9411 | 1159.356 | 1169.755 | 1180.1382 | 1190.5057 | 1200.8574 | 1211.1933 | 1221.5135 | 1231.818 | 1242.1067 | 1252.3798 | 1262.6371 | 1272.8788 | 1283.1047 | 1293.3151 | 1303.5097 | 1313.6888 | 1323.8522 | 1334 | 1344.1322 | 1354.2488 | 1364.3499 | 1374.4353 | 1384.5052 | 1394.5596 | 1404.5985 | 1414.6218 | 1424.6297 | 1434.622 | 1444.5989 | 1454.5603 | 1464.5062 | 1474.4367 | 1484.3517 | 1494.2514 | 1504.1356 | 1514.0045 | 1523.8579 | 1533.696 | 1543.5187 | 1553.3261 | 1563.1181 | 1572.8948 | 1582.6562 | 1592.4024 | 1602.1332 | 1611.8487 | 1621.549 | 1631.234 | 1640.9038 | 1650.5583 | 1660.1977 | 1669.8218 | 1679.4307 | 1689.0245 | 1698.6031 | 1708.1665 | 1717.7148 | 1727.248 | 1736.766 | 1746.269 | 1755.7568 | 1765.2296 | 1774.6873 | 1784.1299 | 1793.5574 | 1802.97 | 1812.3675 | 1821.75
Squared | 1044484 | 1017090.399 | 990096.6095 | 963501.1536 | 937302.5569 | 911499.3483 | 886090.0597 | 861073.2263 | 836447.3867 | 812211.0825 | 788362.8584 | 764901.2626 | 741824.8463 | 719132.1641 | 696821.7734 | 674892.2351 | 653342.1132 | 632169.975 | 611374.3907 | 590953.9338 | 570907.1811 | 551232.7123 | 531929.1105 | 512994.9617 | 494428.8554 | 476229.3838 | 458395.1426 | 440924.7304 | 423816.7491 | 407069.8037 | 390682.5021 | 374653.4556 | 358981.2785 | 343664.5882 | 328702.0051 | 314092.1529 | 299833.6584 | 285925.1512 | 272365.2642 | 259152.6335 | 246285.898 | 233763.6999 | 221584.6843 | 209747.4995 | 198250.7968 | 187093.2306 | 176273.4582 | 165790.1402 | 155641.94 | 145827.5243 | 136345.5625 | 127194.7273 | 118373.6944 | 109881.1424 | 101715.753 | 93876.2109 | 86361.2038 | 79169.4224 | 72299.5605 | 65750.3148 | 59520.385 | 53608.4738 | 48013.2869 | 42733.533 | 37767.9237 | 33115.1736 | 28774.0004 | 24743.1245 | 21021.2696 | 17607.1621 | 14499.5314 | 11697.1099 | 9198.633 | 7002.8388 | 5108.4686 | 3514.2666 | 2218.9798 | 1221.3581 | 520.1545 | 114.1248 | 2.0278 | 182.625 | 654.6811 | 1416.9634 | 2468.2423 | 3807.2911 | 5432.8858 | 7343.8054 | 9538.832 | 12016.75 | 14776.3474 | 17816.4144 | 21135.7445 | 24733.1339 | 28607.3816 | 32757.2896 | 37181.6627 | 41879.3083 | 46849.0371 | 52089.6623 | 57600 | 63378.8691 | 69425.0914 | 75737.4915 | 82314.8968 | 89156.1374 | 96260.0464 | 103625.4596 | 111251.2157 | 119136.156 | 127279.1246 | 135678.9687 | 144334.538 | 153244.6849 | 162408.2649 | 171824.136 | 181491.1591 | 191408.1978 | 201574.1184 | 211987.7901 | 222648.0847 | 233553.877 | 244704.0442 | 256097.4665 | 267733.0267 | 279609.6104 | 291726.1058 | 304081.404 | 316674.3988 | 329503.9865 | 342569.0664 | 355868.5404 | 369401.3129 | 383166.2912 | 397162.3854 | 411388.5081 | 425843.5746 | 440526.503 | 455436.214 | 470571.6309 | 485931.6797 | 501515.2894 | 517321.3911 | 533348.9189 | 549596.8097 | 566064.0026 | 582749.4397 | 599652.0656 | 616770.8277 | 634104.6758 | 651652.5625 | 669413.443 | 687386.275 | 705570.019 | 723963.6381 | 742566.0979 | 761376.3666 | 780393.4151 | 799616.2169 | 819043.7481 | 838674.9873 | 858508.9157 | 878544.5172 | 898780.7783 | 919216.6878 | 939851.2374 | 960683.4212 | 981712.236 | 1002936.6809 | 1024355.7578 | 1045968.4711 | 1067773.8277 | 1089770.8371 | 1111958.5113 | 1134335.8649 | 1156901.915 | 1179655.6812 | 1202596.1857 | 1225722.4531 | 1249033.5107 | 1272528.3881 | 1296206.1176 | 1320065.734 | 1344106.2744 | 1368326.7787 | 1392726.2891 | 1417303.8503 | 1442058.5095 | 1466989.3165 | 1492095.3235 | 1517375.5851 | 1542829.1585 | 1568455.1033 | 1594252.4817 | 1620220.358 | 1646357.7995 | 1672663.8755 | 1699137.6579 | 1725778.2212 | 1752584.6421 | 1779556 | 1806691.3765 | 1833989.8556 | 1861450.5241 | 1889072.4709 | 1916854.7873 | 1944796.5672 | 1972896.9069 | 2001154.9049 | 2029569.6625 | 2058140.2829 | 2086865.8721 | 2115745.5383 | 2144778.3923 | 2173963.5469 | 2203300.1177 | 2232787.2225 | 2262423.9814 | 2292209.517 | 2322142.9543 | 2352223.4204 | 2382450.0452 | 2412821.9605 | 2443338.3008 | 2473998.2029 | 2504800.8057 | 2535745.2507 | 2566830.6816 | 2598056.2446 | 2629421.0881 | 2660924.3628 | 2692565.2218 | 2724342.8205 | 2756256.3168 | 2788304.8705 | 2820487.644 | 2852803.8021 | 2885252.5117 | 2917832.942 | 2950544.2647 | 2983385.6535 | 3016356.2846 | 3049455.3365 | 3082681.9899 | 3116035.4277 | 3149514.8353 | 3183119.4002 | 3216848.3121 | 3250700.7632 | 3284675.9478 | 3318773.0625
Minimum | [80 empty] | 0.4
| 1.255 | 1.26 | 1.265 | 1.27 | 1.275 | 1.28 | 1.285 | 1.29 | 1.295 | 1.3 | 1.305 | 1.31 | 1.315 | 1.32 | 1.325 | 1.33 | 1.335 | 1.34 | 1.345 | 1.35 | 1.355 | 1.36 | 1.365 | 1.37 | 1.375 | 1.38 | 1.385 | 1.39 | 1.395 | 1.4 | 1.405 | 1.41 | 1.415 | 1.42 | 1.425 | 1.43 | 1.435 | 1.44 | 1.445 | 1.45 | 1.455 | 1.46 | 1.465 | 1.47 | 1.475 | 1.48 | 1.485 | 1.49 | 1.495 | 1.5 | 1.505 | 1.51 | 1.515 | 1.52 | 1.525 | 1.53 | 1.535 | 1.54 | 1.545 | 1.55 | 1.555 | 1.56 | 1.565 | 1.57 | 1.575 | 1.58 | 1.585 | 1.59 | 1.595 | 1.6 | 1.605 | 1.61 | 1.615 | 1.62 | 1.625 | 1.63 | 1.635 | 1.64 | 1.645 | 1.65 | 1.655 | 1.66 | 1.665 | 1.67 | 1.675 | 1.68 | 1.685 | 1.69 | 1.695 | 1.7 | 1.705 | 1.71 | 1.715 | 1.72 | 1.725 | 1.73 | 1.735 | 1.74 | 1.745 | 1.75 | 1.755 | 1.76 | 1.765 | 1.77 | 1.775 | 1.78 | 1.785 | 1.79 | 1.795 | 1.8 | 1.805 | 1.81 | 1.815 | 1.82 | 1.825 | 1.83 | 1.835 | 1.84 | 1.845 | 1.85 | 1.855 | 1.86 | 1.865 | 1.87 | 1.875 | 1.88 | 1.885 | 1.89 | 1.895 | 1.9 | 1.905 | 1.91 | 1.915 | 1.92 | 1.925 | 1.93 | 1.935 | 1.94 | 1.945 | 1.95 | 1.955 | 1.96 | 1.965 | 1.97 | 1.975 | 1.98 | 1.985 | 1.99 | 1.995 | 2 | 2.005 | 2.01 | 2.015 | 2.02 | 2.025 | 2.03 | 2.035 | 2.04 | 2.045 | 2.05 | 2.055 | 2.06 | 2.065 | 2.07 | 2.075 | 2.08 | 2.085 | 2.09 | 2.095 | 2.1 | 2.105 | 2.11 | 2.115 | 2.12 | 2.125 | 2.13 | 2.135 | 2.14 | 2.145 | 2.15 | 2.155 | 2.16 | 2.165 | 2.17 | 2.175 | 2.18 | 2.185 | 2.19 | 2.195 | 2.2 | 2.205 | 2.21 | 2.215 | 2.22 | 2.225 | 2.23 | 2.235 | 2.24 | 2.245 | 2.25 | 2.255 | 2.26 | 2.265 | 2.27 | 2.275 | 2.28 | 2.285 | 2.29 | 2.295 | 2.3 | 2.305 | 2.31 | 2.315 | 2.32 | 2.325 | 2.33 | 2.335 | 2.34 | 2.345 | 2.35 | 2.355 | 2.36 | 2.365 | 2.37 | 2.375 | 2.38 | 2.385 | 2.39 | 2.395 | 2.4 | 2.405 | 2.41 | 2.415 | 2.42 | 2.425 | 2.43 | 2.435 | 2.44 | 2.445 | 2.45 | 2.455 | 2.46 | 2.465 | 2.47 | 2.475 | 2.48 | 2.485 | 2.49 | 2.495 | 2.5
Req Vol | 1831.1175 | 1840.47 | 1849.8076 | 1859.1301 | 1868.4377 | 1877.7304 | 1887.0082 | 1896.271 | 1905.519 | 1914.752 | 1923.9702 | 1933.1735 | 1942.3619 | 1951.5355 | 1960.6943 | 1969.8382 | 1978.9673 | 1988.0817 | 1997.1812 | 2006.266 | 2015.336 | 2024.3913 | 2033.4318 | 2042.4576 | 2051.4688 | 2060.4652 | 2069.4469 | 2078.4139 | 2087.3663 | 2096.304 | 2105.2271 | 2114.1355 | 2123.0294 | 2131.9086 | 2140.7733 | 2149.6233 | 2158.4588 | 2167.2797 | 2176.0861 | 2184.878 | 2193.6553 | 2202.4182 | 2211.1665 | 2219.9004 | 2228.6198 | 2237.3247 | 2246.0151 | 2254.6912 | 2263.3528 | 2272 | 2280.6328 | 2289.2512 | 2297.8553 | 2306.4449 | 2315.0203 | 2323.5812 | 2332.1279 | 2340.6602 | 2349.1783 | 2357.682 | 2366.1715 | 2374.6467 | 2383.1076 | 2391.5543 | 2399.9868 | 2408.405 | 2416.809 | 2425.1989 | 2433.5745 | 2441.936 | 2450.2833 | 2458.6165 | 2466.9355 | 2475.2404 | 2483.5312 | 2491.808 | 2500.0706 | 2508.3191 | 2516.5536 | 2524.774 | 2532.9804 | 2541.1727 | 2549.3511 | 2557.5154 | 2565.6658 | 2573.8021 | 2581.9245 | 2590.0329 | 2598.1274 | 2606.208 | 2614.2746 | 2622.3274 | 2630.3662 | 2638.3912 | 2646.4023 | 2654.3995 | 2662.3828 | 2670.3524 | 2678.3081 | 2686.25 | 2694.1781 | 2702.0924 | 2709.993 | 2717.8797 | 2725.7528 | 2733.612 | 2741.4576 | 2749.2894 | 2757.1076 | 2764.912 | 2772.7028 | 2780.4799 | 2788.2433 | 2795.9931 | 2803.7293 | 2811.4518 | 2819.1607 | 2826.8561 | 2834.5378 | 2842.206 | 2849.8606 | 2857.5017 | 2865.1292 | 2872.7432 | 2880.3438 | 2887.9308 | 2895.5043 | 2903.0643 | 2910.6109 | 2918.144 | 2925.6637 | 2933.1699 | 2940.6628 | 2948.1422 | 2955.6083 | 2963.0609 | 2970.5002 | 2977.9261 | 2985.3387 | 2992.738 | 3000.1239 | 3007.4966 | 3014.8559 | 3022.202 | 3029.5348 | 3036.8543 | 3044.1605 | 3051.4536 | 3058.7334 | 3066 | 3073.2534 | 3080.4936 | 3087.7207 | 3094.9345 | 3102.1353 | 3109.3228 | 3116.4973 | 3123.6586 | 3130.8069 | 3137.942 | 3145.0641 | 3152.1731 | 3159.269 | 3166.3519 | 3173.4218 | 3180.4786 | 3187.5224 | 3194.5533 | 3201.5711 | 3208.576 | 3215.5679 | 3222.5469 | 3229.5129 | 3236.466 | 3243.4063 | 3250.3336 | 3257.248 | 3264.1495 | 3271.0382 | 3277.914 | 3284.777 | 3291.6271 | 3298.4645 | 3305.289 | 3312.1008 | 3318.8997 | 3325.6859 | 3332.4593 | 3339.22 | 3345.968 | 3352.7032 | 3359.4258 | 3366.1356 | 3372.8328 | 3379.5173 | 3386.1891 | 3392.8482 | 3399.4948 | 3406.1287 | 3412.75 | 3419.3587 | 3425.9548 | 3432.5384 | 3439.1093 | 3445.6678 | 3452.2136 | 3458.747 | 3465.2678 | 3471.7762 | 3478.272 | 3484.7554 | 3491.2263 | 3497.6847 | 3504.1307 | 3510.5643 | 3516.9854 | 3523.3941 | 3529.7905 | 3536.1744 | 3542.546 | 3548.9052 | 3555.2521 | 3561.5866 | 3567.9088 | 3574.2188 | 3580.5164 | 3586.8017 | 3593.0747 | 3599.3355 | 3605.584 | 3611.8203 | 3618.0443 | 3624.2562 | 3630.4558 | 3636.6433 | 3642.8185 | 3648.9816 | 3655.1325 | 3661.2713 | 3667.398 | 3673.5125 | 3679.615 | 3685.7053 | 3691.7836 | 3697.8498 | 3703.9039 | 3709.9459 | 3715.976 | 3721.994 | 3728
Squared | 3352991.3061 | 3387329.8798 | 3421787.9868 | 3456364.8328 | 3491059.6256 | 3525871.5753 | 3560799.894 | 3595843.7965 | 3631002.4993 | 3666275.2215 | 3701661.1843 | 3737159.611 | 3772769.7273 | 3808490.7609 | 3844321.942 | 3880262.5027 | 3916311.6774 | 3952468.7027 | 3988732.8175 | 4025103.2628 | 4061579.2816 | 4098160.1193 | 4134845.0235 | 4171633.2439 | 4208524.0322 | 4245516.6426 | 4282610.3312 | 4319804.3563 | 4357097.9785 | 4394490.4604 | 4431981.0668 | 4469569.0646 | 4507253.7229 | 4545034.3129 | 4582910.1079 | 4620880.3835 | 4658944.4172 | 4697101.4888 | 4735350.88 | 4773691.8749 | 4812123.7595 | 4850645.822 | 4889257.3526 | 4927957.6438 | 4966745.9901 | 5005621.6879 | 5044584.0361 | 5083632.3352 | 5122765.8882 | 5161984 | 5201285.9776 | 5240671.13 | 5280138.7683 | 5319688.2059 | 5359318.7579 | 5399029.7417 | 5438820.4767 | 5478690.2842 | 5518638.4879 | 5558664.4131 | 5598767.3876 | 5638946.7409 | 5679201.8046 | 5719531.9125 | 5759936.4002 | 5800414.6055 | 5840965.8682 | 5881589.5299 | 5922284.9347 | 5963051.4281 | 6003888.3581 | 6044795.0744 | 6085770.9289 | 6126815.2754 | 6167927.4697 | 6209106.8697 | 6250352.835 | 6291664.7275 | 6333041.9109 | 6374483.7511 | 6415989.6156 | 6457558.8742 | 6499190.8985 | 6540885.0622 | 6582640.7407 | 6624457.3117 | 6666334.1547 | 6708270.651 | 6750266.1841 | 6792320.1393 | 6834431.9038 | 6876600.8669 | 6918826.4198 | 6961107.9554 | 7003444.8688 | 7045836.557 | 7088282.4187 | 7130781.8547 | 7173334.2678 | 7215939.0625 | 7258595.6453 | 7301303.4246 | 7344061.8107 | 7386870.2159 | 7429728.0541 | 7472634.7415 | 7515589.6958 | 7558592.3369 | 7601642.0864 | 7644738.3677 | 7687880.6064 | 7731068.2296 | 7774300.6665 | 7817577.3481 | 7860897.7073 | 7904261.1787 | 7947667.199 | 7991115.2066 | 8034604.6417 | 8078134.9464 | 8121705.5648 | 8165315.9426 | 8208965.5275 | 8252653.7689 | 8296380.1182 | 8340144.0283 | 8383944.9544 | 8427782.3532 | 8471655.6831 | 8515564.4047 | 8559507.9802 | 8603485.8735 | 8647497.5504 | 8691542.4786 | 8735620.1275 | 8779729.9682 | 8823871.4738 | 8868044.1191 | 8912247.3806 | 8956480.7366 | 9000743.6674 | 9045035.6547 | 9089356.1822 | 9133704.7354 | 9178080.8015 | 9222483.8694 | 9266913.4298 | 9311368.9753 | 9355850 | 9400356 | 9444886.4729 | 9489440.9182 | 9534018.8371 | 9578619.7326 | 9623243.1093 | 9667888.4736 | 9712555.3336 | 9757243.1993 | 9801951.5821 | 9846679.9954 | 9891427.9541 | 9936194.975 | 9980980.5764 | 10025784.2786 | 10070605.6034 | 10115444.0742 | 10160299.2163 | 10205170.5565 | 10250057.6236 | 10294959.9478 | 10339877.061 | 10384808.4969 | 10429753.7909 | 10474712.4799 | 10519684.1025 | 10564668.1993 | 10609664.312 | 10654671.9845 | 10699690.7619 | 10744720.1914 | 10789759.8215 | 10834809.2025 | 10879867.8862 | 10924935.4264 | 10970011.3782 | 11015095.2983 | 11060186.7454 | 11105285.2794 | 11150390.4622 | 11195501.857 | 11240619.0289 | 11285741.5445 | 11330868.9718 | 11376000.8809 | 11421136.843 | 11466276.4313 | 11511419.2204 | 11556564.7864 | 11601712.7073 | 11646862.5625 | 11692013.9329 | 11737166.4013 | 11782319.5517 | 11827472.9699 | 11872626.2434 | 11917778.961 | 11962930.7132 | 12008081.092 | 12053229.6913 | 12098376.106 | 12143519.933 | 12188660.7706 | 12233798.2186 | 12278931.8786 | 12324061.3534 | 12369186.2475 | 12414306.1671 | 12459420.7197 | 12504529.5145 | 12549632.1621 | 12594728.2747 | 12639817.4661 | 12684899.3515 | 12729973.5476 | 12775039.6729 | 12820097.3469 | 12865146.1912 | 12910185.8285 | 12955215.8832 | 13000235.9811 | 13045245.7495 | 13090244.8173 | 13135232.8148 | 13180209.3738 | 13225174.1278 | 13270126.7114 | 13315066.7609 | 13359993.9142 | 13404907.8105 | 13449808.0904 | 13494694.3962 | 13539566.3716 | 13584423.6616 | 13629265.913 | 13674092.7736 | 13718903.893 | 13763698.9222 | 13808477.5137 | 13853239.3211 | 13897984
Minimum
Min^2 | 2.0278
Answer | 0.4
2nd 1/4 | 0 | 0.005 | 0.01 | 0.015 | 0.02 | 0.025 | 0.03 | 0.035 | 0.04 | 0.045 | 0.05 | 0.055 | 0.06 | 0.065 | 0.07 | 0.075 | 0.08 | 0.085 | 0.09 | 0.095 | 0.1 | 0.105 | 0.11 | 0.115 | 0.12 | 0.125 | 0.13 | 0.135 | 0.14 | 0.145 | 0.15 | 0.155 | 0.16 | 0.165 | 0.17 | 0.175 | 0.18 | 0.185 | 0.19 | 0.195 | 0.2 | 0.205 | 0.21 | 0.215 | 0.22 | 0.225 | 0.23 | 0.235 | 0.24 | 0.245 | 0.25 | 0.255 | 0.26 | 0.265 | 0.27 | 0.275 | 0.28 | 0.285 | 0.29 | 0.295 | 0.3 | 0.305 | 0.31 | 0.315 | 0.32 | 0.325 | 0.33 | 0.335 | 0.34 | 0.345 | 0.35 | 0.355 | 0.36 | 0.365 | 0.37 | 0.375 | 0.38 | 0.385 | 0.39 | 0.395 | 0.4 | 0.405 | 0.41 | 0.415 | 0.42 | 0.425 | 0.43 | 0.435 | 0.44 | 0.445 | 0.45 | 0.455 | 0.46 | 0.465 | 0.47 | 0.475 | 0.48 | 0.485 | 0.49 | 0.495 | 0.5 | 0.505 | 0.51 | 0.515 | 0.52 | 0.525 | 0.53 | 0.535 | 0.54 | 0.545 | 0.55 | 0.555 | 0.56 | 0.565 | 0.57 | 0.575 | 0.58 | 0.585 | 0.59 | 0.595 | 0.6 | 0.605 | 0.61 | 0.615 | 0.62 | 0.625 | 0.63 | 0.635 | 0.64 | 0.645 | 0.65 | 0.655 | 0.66 | 0.665 | 0.67 | 0.675 | 0.68 | 0.685 | 0.69 | 0.695 | 0.7 | 0.705 | 0.71 | 0.715 | 0.72 | 0.725 | 0.73 | 0.735 | 0.74 | 0.745 | 0.75 | 0.755 | 0.76 | 0.765 | 0.77 | 0.775 | 0.78 | 0.785 | 0.79 | 0.795 | 0.8 | 0.805 | 0.81 | 0.815 | 0.82 | 0.825 | 0.83 | 0.835 | 0.84 | 0.845 | 0.85 | 0.855 | 0.86 | 0.865 | 0.87 | 0.875 | 0.88 | 0.885 | 0.89 | 0.895 | 0.9 | 0.905 | 0.91 | 0.915 | 0.92 | 0.925 | 0.93 | 0.935 | 0.94 | 0.945 | 0.95 | 0.955 | 0.96 | 0.965 | 0.97 | 0.975 | 0.98 | 0.985 | 0.99 | 0.995 | 1 | 1.005 | 1.01 | 1.015 | 1.02 | 1.025 | 1.03 | 1.035 | 1.04 | 1.045 | 1.05 | 1.055 | 1.06 | 1.065 | 1.07 | 1.075 | 1.08 | 1.085 | 1.09 | 1.095 | 1.1 | 1.105 | 1.11 | 1.115 | 1.12 | 1.125 | 1.13 | 1.135 | 1.14 | 1.145 | 1.15 | 1.155 | 1.16 | 1.165 | 1.17 | 1.175 | 1.18 | 1.185 | 1.19 | 1.195 | 1.2 | 1.205 | 1.21 | 1.215 | 1.22 | 1.225 | 1.23 | 1.235 | 1.24 | 1.245 | 1.25
Req Vol | -1022 | -1009.9101 | -997.8373 | -985.7814 | -973.7426 | -961.7207 | -949.7159 | -937.728 | -925.7571 | -913.8031 | -901.866 | -889.9459 | -878.0426 | -866.1563 | -854.2868 | -842.4343 | -830.5985 | -818.7797 | -806.9776 | -795.1924 | -783.424 | -771.6724 | -759.9376 | -748.2195 | -736.5183 | -724.8338 | -713.166 | -701.5149 | -689.8806 | -678.2629 | -666.662 | -655.0777 | -643.5101 | -631.9592 | -620.4249 | -608.9073 | -597.4062 | -585.9218 | -574.4539 | -563.0027 | -551.568 | -540.1499 | -528.7483 | -517.3633 | -505.9948 | -494.6428 | -483.3072 | -471.9882 | -460.6857 | -449.3996 | -438.13 | -426.8768 | -415.6401 | -404.4197 | -393.2158 | -382.0283 | -370.8571 | -359.7023 | -348.5639 | -337.4418 | -326.336 | -315.2466 | -304.1734 | -293.1166 | -282.076 | -271.0518 | -260.0437 | -249.052 | -238.0764 | -227.1171 | -216.174 | -205.2471 | -194.3364 | -183.4418 | -172.5635 | -161.7013 | -150.8552 | -140.0252 | -129.2114 | -118.4136 | -107.632 | -96.8664 | -86.1169 | -75.3835 | -64.6661 | -53.9648 | -43.2794 | -32.6101 | -21.9567 | -11.3194 | -0.698 | 9.9074 | 20.4969 | 31.0704 | 41.628 | 52.1697 | 62.6956 | 73.2055 | 83.6995 | 94.1777 | 104.64 | 115.0865 | 125.5171 | 135.932 | 146.331 | 156.7142 | 167.0817 | 177.4334 | 187.7693 | 198.0895 | 208.394 | 218.6827 | 228.9558 | 239.2131 | 249.4548 | 259.6807 | 269.8911 | 280.0857 | 290.2648 | 300.4282 | 310.576 | 320.7082 | 330.8248 | 340.9259 | 351.0113 | 361.0812 | 371.1356 | 381.1745 | 391.1978 | 401.2057 | 411.198 | 421.1749 | 431.1363 | 441.0822 | 451.0127 | 460.9277 | 470.8274 | 480.7116 | 490.5805 | 500.4339 | 510.272 | 520.0947 | 529.9021 | 539.6941 | 549.4708 | 559.2322 | 568.9784 | 578.7092 | 588.4247 | 598.125 | 607.81 | 617.4798 | 627.1343 | 636.7737 | 646.3978 | 656.0067 | 665.6005 | 675.1791 | 684.7425 | 694.2908 | 703.824 | 713.342 | 722.845 | 732.3328 | 741.8056 | 751.2632 | 760.7059 | 770.1334 | 779.546 | 788.9435 | 798.326 | 807.6935 | 817.046 | 826.3836 | 835.7061 | 845.0137 | 854.3064 | 863.5842 | 872.847 | 882.095 | 891.328 | 900.5462 | 909.7495 | 918.9379 | 928.1115 | 937.2702 | 946.4142 | 955.5433 | 964.6577 | 973.7572 | 982.842 | 991.912 | 1000.9673 | 1010.0078 | 1019.0336 | 1028.0447 | 1037.0412 | 1046.0229 | 1054.9899 | 1063.9423 | 1072.88 | 1081.8031 | 1090.7115 | 1099.6054 | 1108.4846 | 1117.3492 | 1126.1993 | 1135.0348 | 1143.8557 | 1152.6621 | 1161.454 | 1170.2313 | 1178.9942 | 1187.7425 | 1196.4764 | 1205.1957 | 1213.9007 | 1222.5911 | 1231.2672 | 1239.9288 | 1248.576 | 1257.2088 | 1265.8272 | 1274.4313 | 1283.0209 | 1291.5962 | 1300.1572 | 1308.7039 | 1317.2362 | 1325.7543 | 1334.258 | 1342.7475 | 1351.2227 | 1359.6836 | 1368.1303 | 1376.5627 | 1384.981 | 1393.385 | 1401.7749 | 1410.1505 | 1418.512 | 1426.8593 | 1435.1925 | 1443.5115 | 1451.8164 | 1460.1072 | 1468.384 | 1476.6466 | 1484.8951 | 1493.1296 | 1501.35
Squared | 1044484 | 1019918.4464 | 995679.2054 | 971765.0198 | 948174.6355 | 924906.801 | 901960.2679 | 879333.7907 | 857026.1267 | 835036.0361 | 813362.282 | 792003.6302 | 770958.8496 | 750226.7118 | 729805.9913 | 709695.4656 | 689893.9147 | 670400.1218 | 651212.8727 | 632330.9562 | 613753.1638 | 595478.2898 | 577505.1316 | 559832.489 | 542459.165 | 525383.9651 | 508605.6979 | 492123.1746 | 475935.2091 | 460040.6185 | 444438.2222 | 429126.8428 | 414105.3054 | 399372.438 | 384927.0714 | 370768.0391 | 356894.1774 | 343304.3252 | 329997.3246 | 316972.0199 | 304227.2586 | 291761.8907 | 279574.769 | 267664.749 | 256030.6891 | 244671.4501 | 233585.896 | 222772.893 | 212231.3105 | 201960.0203 | 191957.8969 | 182223.8177 | 172756.6628 | 163555.3148 | 154618.6591 | 145945.5838 | 137534.9797 | 129385.7403 | 121496.7617 | 113866.9427 | 106495.1849 | 99380.3923 | 92521.4719 | 85917.333 | 79566.8878 | 73469.0512 | 67622.7405 | 62026.8758 | 56680.3799 | 51582.178 | 46731.1983 | 42126.3712 | 37766.6301 | 33650.9109 | 29778.1519 | 26147.2943 | 22757.2817 | 19607.0606 | 16695.5797 | 14021.7906 | 11584.6474 | 9383.1068 | 7416.128 | 5682.673 | 4181.706 | 2912.1942 | 1873.1072 | 1063.4169 | 482.0983 | 128.1284 | 0.4872 | 98.157 | 420.1227 | 965.3719 | 1732.8944 | 2721.6828 | 3930.7322 | 5359.0403 | 7005.607 | 8869.435 | 10949.5296 | 13244.8983 | 15754.5514 | 18477.5016 | 21412.7639 | 24559.3562 | 27916.2985 | 31482.6136 | 35257.3265 | 39239.4651 | 43428.0592 | 47822.1416 | 52420.7474 | 57222.9139 | 62227.6813 | 67434.0919 | 72841.1907 | 78448.0251 | 84253.6448 | 90257.1022 | 96457.4518 | 102853.7508 | 109445.0589 | 116230.4379 | 123208.9524 | 130379.6691 | 137741.6573 | 145293.9888 | 153035.7375 | 160965.98 | 169083.7952 | 177388.2644 | 185878.4712 | 194553.5019 | 203412.4447 | 212454.3907 | 221678.4331 | 231083.6674 | 240669.1917 | 250434.1063 | 260377.514 | 270498.5199 | 280796.2313 | 291269.7583 | 301918.2128 | 312740.7094 | 323736.365 | 334904.2988 | 346243.6323 | 357753.4893 | 369432.9961 | 381281.2812 | 393297.4754 | 405480.7119 | 417830.1262 | 430344.856 | 443024.0416 | 455866.8252 | 468872.3516 | 482039.7677 | 495368.223 | 508856.8689 | 522504.8593 | 536311.3505 | 550275.5007 | 564396.4708 | 578673.4237 | 593105.5246 | 607691.9412 | 622431.843 | 637324.4023 | 652368.7932 | 667564.1923 | 682909.7783 | 698404.7324 | 714048.2377 | 729839.4798 | 745777.6463 | 761861.9273 | 778091.5149 | 794465.6036 | 810983.3899 | 827644.0727 | 844446.853 | 861390.9342 | 878475.5215 | 895699.8228 | 913063.0479 | 930564.4087 | 948203.1196 | 965978.397 | 983889.4594 | 1001935.5277 | 1020115.8247 | 1038429.5758 | 1056876.008 | 1075454.3509 | 1094163.8362 | 1113003.6975 | 1131973.1709 | 1151071.4944 | 1170297.9082 | 1189651.6548 | 1209131.9785 | 1228738.1262 | 1248469.3465 | 1268324.8903 | 1288304.0108 | 1308405.9631 | 1328630.0044 | 1348975.3941 | 1369441.3938 | 1390027.267 | 1410732.2796 | 1431555.6992 | 1452496.7958 | 1473554.8415 | 1494729.1103 | 1516018.8784 | 1537423.4241 | 1558942.0278 | 1580573.9718 | 1602318.5408 | 1624175.0212 | 1646142.7017 | 1668220.873 | 1690408.8279 | 1712705.8612 | 1735111.2698 | 1757624.3526 | 1780244.4106 | 1802970.7467 | 1825802.6661 | 1848739.4758 | 1871780.4849 | 1894925.0047 | 1918172.3482 | 1941521.8307 | 1964972.7693 | 1988524.4834 | 2012176.2941 | 2035927.5248 | 2059777.5006 | 2083725.5488 | 2107770.9987 | 2131913.1815 | 2156151.4305 | 2180485.0809 | 2204913.4699 | 2229435.9367 | 2254051.8225
Minimum | [90 empty] | 0.45
| 1.255 | 1.26 | 1.265 | 1.27 | 1.275 | 1.28 | 1.285 | 1.29 | 1.295 | 1.3 | 1.305 | 1.31 | 1.315 | 1.32 | 1.325 | 1.33 | 1.335 | 1.34 | 1.345 | 1.35 | 1.355 | 1.36 | 1.365 | 1.37 | 1.375 | 1.38 | 1.385 | 1.39 | 1.395 | 1.4 | 1.405 | 1.41 | 1.415 | 1.42 | 1.425 | 1.43 | 1.435 | 1.44 | 1.445 | 1.45 | 1.455 | 1.46 | 1.465 | 1.47 | 1.475 | 1.48 | 1.485 | 1.49 | 1.495 | 1.5 | 1.505 | 1.51 | 1.515 | 1.52 | 1.525 | 1.53 | 1.535 | 1.54 | 1.545 | 1.55 | 1.555 | 1.56 | 1.565 | 1.57 | 1.575 | 1.58 | 1.585 | 1.59 | 1.595 | 1.6 | 1.605 | 1.61 | 1.615 | 1.62 | 1.625 | 1.63 | 1.635 | 1.64 | 1.645 | 1.65 | 1.655 | 1.66 | 1.665 | 1.67 | 1.675 | 1.68 | 1.685 | 1.69 | 1.695 | 1.7 | 1.705 | 1.71 | 1.715 | 1.72 | 1.725 | 1.73 | 1.735 | 1.74 | 1.745 | 1.75 | 1.755 | 1.76 | 1.765 | 1.77 | 1.775 | 1.78 | 1.785 | 1.79 | 1.795 | 1.8 | 1.805 | 1.81 | 1.815 | 1.82 | 1.825 | 1.83 | 1.835 | 1.84 | 1.845 | 1.85 | 1.855 | 1.86 | 1.865 | 1.87 | 1.875 | 1.88 | 1.885 | 1.89 | 1.895 | 1.9 | 1.905 | 1.91 | 1.915 | 1.92 | 1.925 | 1.93 | 1.935 | 1.94 | 1.945 | 1.95 | 1.955 | 1.96 | 1.965 | 1.97 | 1.975 | 1.98 | 1.985 | 1.99 | 1.995 | 2 | 2.005 | 2.01 | 2.015 | 2.02 | 2.025 | 2.03 | 2.035 | 2.04 | 2.045 | 2.05 | 2.055 | 2.06 | 2.065 | 2.07 | 2.075 | 2.08 | 2.085 | 2.09 | 2.095 | 2.1 | 2.105 | 2.11 | 2.115 | 2.12 | 2.125 | 2.13 | 2.135 | 2.14 | 2.145 | 2.15 | 2.155 | 2.16 | 2.165 | 2.17 | 2.175 | 2.18 | 2.185 | 2.19 | 2.195 | 2.2 | 2.205 | 2.21 | 2.215 | 2.22 | 2.225 | 2.23 | 2.235 | 2.24 | 2.245 | 2.25 | 2.255 | 2.26 | 2.265 | 2.27 | 2.275 | 2.28 | 2.285 | 2.29 | 2.295 | 2.3 | 2.305 | 2.31 | 2.315 | 2.32 | 2.325 | 2.33 | 2.335 | 2.34 | 2.345 | 2.35 | 2.355 | 2.36 | 2.365 | 2.37 | 2.375 | 2.38 | 2.385 | 2.39 | 2.395 | 2.4 | 2.405 | 2.41 | 2.415 | 2.42 | 2.425 | 2.43 | 2.435 | 2.44 | 2.445 | 2.45 | 2.455 | 2.46 | 2.465 | 2.47 | 2.475 | 2.48 | 2.485 | 2.49 | 2.495 | 2.5
Req Vol | 1509.5564 | 1517.7487 | 1525.9271 | 1534.0914 | 1542.2417 | 1550.3781 | 1558.5005 | 1566.6089 | 1574.7034 | 1582.784 | 1590.8506 | 1598.9034 | 1606.9422 | 1614.9672 | 1622.9782 | 1630.9755 | 1638.9588 | 1646.9284 | 1654.8841 | 1662.826 | 1670.7541 | 1678.6684 | 1686.569 | 1694.4557 | 1702.3287 | 1710.188 | 1718.0336 | 1725.8654 | 1733.6836 | 1741.488 | 1749.2788 | 1757.0559 | 1764.8193 | 1772.5691 | 1780.3052 | 1788.0278 | 1795.7367 | 1803.4321 | 1811.1138 | 1818.782 | 1826.4366 | 1834.0777 | 1841.7052 | 1849.3192 | 1856.9197 | 1864.5068 | 1872.0803 | 1879.6403 | 1887.1869 | 1894.72 | 1902.2397 | 1909.7459 | 1917.2388 | 1924.7182 | 1932.1842 | 1939.6369 | 1947.0762 | 1954.5021 | 1961.9147 | 1969.314 | 1976.6999 | 1984.0726 | 1991.4319 | 1998.778 | 2006.1107 | 2013.4303 | 2020.7365 | 2028.0296 | 2035.3094 | 2042.576 | 2049.8294 | 2057.0696 | 2064.2967 | 2071.5105 | 2078.7112 | 2085.8988 | 2093.0733 | 2100.2346 | 2107.3829 | 2114.518 | 2121.6401 | 2128.7491 | 2135.845 | 2142.9279 | 2149.9977 | 2157.0546 | 2164.0984 | 2171.1293 | 2178.1471 | 2185.152 | 2192.1439 | 2199.1229 | 2206.0889 | 2213.042 | 2219.9822 | 2226.9096 | 2233.824 | 2240.7255 | 2247.6142 | 2254.49 | 2261.353 | 2268.2031 | 2275.0405 | 2281.865 | 2288.6768 | 2295.4757 | 2302.2619 | 2309.0353 | 2315.796 | 2322.544 | 2329.2792 | 2336.0018 | 2342.7116 | 2349.4088 | 2356.0933 | 2362.7651 | 2369.4242 | 2376.0708 | 2382.7047 | 2389.326 | 2395.9347 | 2402.5308 | 2409.1144 | 2415.6853 | 2422.2438 | 2428.7896 | 2435.323 | 2441.8438 | 2448.3522 | 2454.848 | 2461.3314 | 2467.8023 | 2474.2607 | 2480.7067 | 2487.1403 | 2493.5614 | 2499.9701 | 2506.3665 | 2512.7504 | 2519.122 | 2525.4812 | 2531.8281 | 2538.1626 | 2544.4848 | 2550.7948 | 2557.0924 | 2563.3777 | 2569.6507 | 2575.9115 | 2582.16 | 2588.3963 | 2594.6203 | 2600.8322 | 2607.0318 | 2613.2193 | 2619.3945 | 2625.5576 | 2631.7085 | 2637.8473 | 2643.974 | 2650.0885 | 2656.191 | 2662.2813 | 2668.3596 | 2674.4258 | 2680.4799 | 2686.5219 | 2692.552 | 2698.57 | 2704.576 | 2710.57 | 2716.552 | 2722.5221 | 2728.4801 | 2734.4263 | 2740.3604 | 2746.2827 | 2752.193 | 2758.0915 | 2763.978 | 2769.8527 | 2775.7155 | 2781.5664 | 2787.4055 | 2793.2328 | 2799.0482 | 2804.8518 | 2810.6437 | 2816.4237 | 2822.192 | 2827.9485 | 2833.6933 | 2839.4263 | 2845.1476 | 2850.8573 | 2856.5552 | 2862.2414 | 2867.9159 | 2873.5788 | 2879.23 | 2884.8696 | 2890.4975 | 2896.1139 | 2901.7186 | 2907.3118 | 2912.8933 | 2918.4633 | 2924.0217 | 2929.5686 | 2935.104 | 2940.6278 | 2946.1402 | 2951.641 | 2957.1304 | 2962.6083 | 2968.0747 | 2973.5296 | 2978.9732 | 2984.4053 | 2989.826 | 2995.2353 | 3000.6332 | 3006.0198 | 3011.3949 | 3016.7588 | 3022.1112 | 3027.4524 | 3032.7822 | 3038.1008 | 3043.408 | 3048.704 | 3053.9887 | 3059.2621 | 3064.5243 | 3069.7753 | 3075.015 | 3080.2435 | 3085.4609 | 3090.667 | 3095.862 | 3101.0458 | 3106.2185 | 3111.38 | 3116.5304 | 3121.6698 | 3126.798 | 3131.9151 | 3137.0211 | 3142.1161 | 3147.2
Squared | 2278760.4704 | 2303561.2256 | 2328453.4352 | 2353436.4481 | 2378509.6154 | 2403672.2902 | 2428923.8272 | 2454263.5834 | 2479690.9176 | 2505205.1907 | 2530805.7652 | 2556492.0058 | 2582263.2791 | 2608118.9537 | 2634058.4 | 2660080.9903 | 2686186.0989 | 2712373.102 | 2738641.3778 | 2764990.3063 | 2791419.2693 | 2817927.6509 | 2844514.8366 | 2871180.2142 | 2897923.1731 | 2924743.1048 | 2951639.4026 | 2978611.4618 | 3005658.6793 | 3032780.4541 | 3059976.1872 | 3087245.2811 | 3114587.1405 | 3142001.1717 | 3169486.7832 | 3197043.385 | 3224670.3891 | 3252367.2095 | 3280133.2618 | 3307967.9635 | 3335870.7342 | 3363840.995 | 3391878.1689 | 3419981.681 | 3448150.9579 | 3476385.4283 | 3504684.5223 | 3533047.6724 | 3561474.3125 | 3589963.8784 | 3618515.8078 | 3647129.5401 | 3675804.5165 | 3704540.1802 | 3733335.9759 | 3762191.3504 | 3791105.752 | 3820078.6309 | 3849109.4392 | 3878197.6306 | 3907342.6607 | 3936543.9868 | 3965801.0681 | 3995113.3654 | 4024480.3413 | 4053901.4602 | 4083376.1883 | 4112903.9936 | 4142484.3456 | 4172116.7158 | 4201800.5773 | 4231535.4051 | 4261320.6757 | 4291155.8676 | 4321040.4609 | 4350973.9373 | 4380955.7806 | 4410985.4758 | 4441062.5102 | 4471186.3723 | 4501356.5527 | 4531572.5434 | 4561833.8384 | 4592139.9332 | 4622490.325 | 4652884.5129 | 4683321.9974 | 4713802.281 | 4744324.8677 | 4774889.2631 | 4805494.9748 | 4836141.5117 | 4866828.3847 | 4897555.1062 | 4928321.1903 | 4959126.1528 | 4989969.5111 | 5020850.7843 | 5051769.4931 | 5082725.1601 | 5113717.3092 | 5144745.4662 | 5175809.1583 | 5206907.9147 | 5238041.266 | 5269208.7444 | 5300409.8838 | 5331644.2198 | 5362911.2896 | 5394210.6319 | 5425541.7872 | 5456904.2975 | 5488297.7064 | 5519721.5592 | 5551175.4027 | 5582658.7855 | 5614171.2575 | 5645712.3706 | 5677281.6779 | 5708878.7343 | 5740503.0962 | 5772154.3218 | 5803831.9706 | 5835535.6039 | 5867264.7844 | 5899019.0765 | 5930798.0461 | 5962601.2608 | 5994428.2896 | 6026278.7031 | 6058152.0736 | 6090047.9747 | 6121965.9819 | 6153905.6719 | 6185866.6232 | 6217848.4157 | 6249850.6309 | 6281872.8519 | 6313914.6632 | 6345975.6509 | 6378055.4027 | 6410153.5077 | 6442269.5566 | 6474403.1417 | 6506553.8566 | 6538721.2967 | 6570905.0585 | 6603104.7406 | 6635319.9425 | 6667550.2656 | 6699795.3127 | 6732054.688 | 6764327.9973 | 6796614.8479 | 6828914.8486 | 6861227.6095 | 6893552.7424 | 6925889.8606 | 6958238.5786 | 6990598.5127 | 7022969.2804 | 7055350.501 | 7087741.7949 | 7120142.7841 | 7152553.0923 | 7184972.3442 | 7217400.1663 | 7249836.1865 | 7282280.0341 | 7314731.3398 | 7347189.7357 | 7379654.8556 | 7412126.3345 | 7444603.8089 | 7477086.9167 | 7509575.2973 | 7542068.5914 | 7574566.4414 | 7607068.4907 | 7639574.3845 | 7672083.7692 | 7704596.2927 | 7737111.6042 | 7769629.3545 | 7802149.1957 | 7834670.7811 | 7867193.7658 | 7899717.806 | 7932242.5593 | 7964767.6849 | 7997292.8431 | 8029817.6958 | 8062341.9062 | 8094865.1389 | 8127387.0599 | 8159907.3364 | 8192425.6372 | 8224941.6324 | 8257454.9934 | 8289965.3929 | 8322472.5051 | 8354976.0056 | 8387475.5712 | 8419970.88 | 8452461.6117 | 8484947.4471 | 8517428.0685 | 8549903.1594 | 8582372.4048 | 8614835.4908 | 8647292.1051 | 8679741.9366 | 8712184.6755 | 8744620.0133 | 8777047.643 | 8809467.2586 | 8841878.5556 | 8874281.231 | 8906674.9827 | 8939059.5103 | 8971434.5143 | 9003799.697 | 9036154.7614 | 9068499.4124 | 9100833.3557 | 9133156.2986 | 9165467.9495 | 9197768.0182 | 9230056.2158 | 9262332.2545 | 9294595.8479 | 9326846.711 | 9359084.5598 | 9391309.1117 | 9423520.0855 | 9455717.201 | 9487900.1795 | 9520068.7433 | 9552222.6162 | 9584361.523 | 9616485.1901 | 9648593.3449 | 9680685.716 | 9712762.0333 | 9744822.0281 | 9776865.4326 | 9808891.9806 | 9840901.4069 | 9872893.4476 | 9904867.84
Minimum
Min^2 | 0.4872
Answer | 0.45
3rd 1/4 | 0 | 0.005 | 0.01 | 0.015 | 0.02 | 0.025 | 0.03 | 0.035 | 0.04 | 0.045 | 0.05 | 0.055 | 0.06 | 0.065 | 0.07 | 0.075 | 0.08 | 0.085 | 0.09 | 0.095 | 0.1 | 0.105 | 0.11 | 0.115 | 0.12 | 0.125 | 0.13 | 0.135 | 0.14 | 0.145 | 0.15 | 0.155 | 0.16 | 0.165 | 0.17 | 0.175 | 0.18 | 0.185 | 0.19 | 0.195 | 0.2 | 0.205 | 0.21 | 0.215 | 0.22 | 0.225 | 0.23 | 0.235 | 0.24 | 0.245 | 0.25 | 0.255 | 0.26 | 0.265 | 0.27 | 0.275 | 0.28 | 0.285 | 0.29 | 0.295 | 0.3 | 0.305 | 0.31 | 0.315 | 0.32 | 0.325 | 0.33 | 0.335 | 0.34 | 0.345 | 0.35 | 0.355 | 0.36 | 0.365 | 0.37 | 0.375 | 0.38 | 0.385 | 0.39 | 0.395 | 0.4 | 0.405 | 0.41 | 0.415 | 0.42 | 0.425 | 0.43 | 0.435 | 0.44 | 0.445 | 0.45 | 0.455 | 0.46 | 0.465 | 0.47 | 0.475 | 0.48 | 0.485 | 0.49 | 0.495 | 0.5 | 0.505 | 0.51 | 0.515 | 0.52 | 0.525 | 0.53 | 0.535 | 0.54 | 0.545 | 0.55 | 0.555 | 0.56 | 0.565 | 0.57 | 0.575 | 0.58 | 0.585 | 0.59 | 0.595 | 0.6 | 0.605 | 0.61 | 0.615 | 0.62 | 0.625 | 0.63 | 0.635 | 0.64 | 0.645 | 0.65 | 0.655 | 0.66 | 0.665 | 0.67 | 0.675 | 0.68 | 0.685 | 0.69 | 0.695 | 0.7 | 0.705 | 0.71 | 0.715 | 0.72 | 0.725 | 0.73 | 0.735 | 0.74 | 0.745 | 0.75 | 0.755 | 0.76 | 0.765 | 0.77 | 0.775 | 0.78 | 0.785 | 0.79 | 0.795 | 0.8 | 0.805 | 0.81 | 0.815 | 0.82 | 0.825 | 0.83 | 0.835 | 0.84 | 0.845 | 0.85 | 0.855 | 0.86 | 0.865 | 0.87 | 0.875 | 0.88 | 0.885 | 0.89 | 0.895 | 0.9 | 0.905 | 0.91 | 0.915 | 0.92 | 0.925 | 0.93 | 0.935 | 0.94 | 0.945 | 0.95 | 0.955 | 0.96 | 0.965 | 0.97 | 0.975 | 0.98 | 0.985 | 0.99 | 0.995 | 1 | 1.005 | 1.01 | 1.015 | 1.02 | 1.025 | 1.03 | 1.035 | 1.04 | 1.045 | 1.05 | 1.055 | 1.06 | 1.065 | 1.07 | 1.075 | 1.08 | 1.085 | 1.09 | 1.095 | 1.1 | 1.105 | 1.11 | 1.115 | 1.12 | 1.125 | 1.13 | 1.135 | 1.14 | 1.145 | 1.15 | 1.155 | 1.16 | 1.165 | 1.17 | 1.175 | 1.18 | 1.185 | 1.19 | 1.195 | 1.2 | 1.205 | 1.21 | 1.215 | 1.22 | 1.225 | 1.23 | 1.235 | 1.24 | 1.245 | 1.25
Req Vol | -1022 | -1011.3946 | -1000.8051 | -990.2316 | -979.674 | -969.1322 | -958.6064 | -948.0965 | -937.6025 | -927.1243 | -916.662 | -906.2155 | -895.7849 | -885.37 | -874.971 | -864.5878 | -854.2203 | -843.8686 | -833.5327 | -823.2125 | -812.908 | -802.6193 | -792.3462 | -782.0889 | -771.8472 | -761.6213 | -751.4109 | -741.2163 | -731.0372 | -720.8738 | -710.726 | -700.5938 | -690.4772 | -680.3761 | -670.2907 | -660.2208 | -650.1664 | -640.1275 | -630.1042 | -620.0963 | -610.104 | -600.1271 | -590.1657 | -580.2198 | -570.2893 | -560.3743 | -550.4746 | -540.5904 | -530.7215 | -520.8681 | -511.03 | -501.2073 | -491.3999 | -481.6079 | -471.8312 | -462.0697 | -452.3236 | -442.5928 | -432.8773 | -423.177 | -413.492 | -403.8222 | -394.1677 | -384.5283 | -374.9042 | -365.2953 | -355.7015 | -346.1229 | -336.5595 | -327.0112 | -317.478 | -307.96 | -298.457 | -288.9692 | -279.4964 | -270.0388 | -260.5961 | -251.1686 | -241.756 | -232.3585 | -222.976 | -213.6085 | -204.256 | -194.9184 | -185.5959 | -176.2883 | -166.9956 | -157.7178 | -148.455 | -139.207 | -129.974 | -120.7558 | -111.5525 | -102.3641 | -93.1905 | -84.0318 | -74.8878 | -65.7587 | -56.6443 | -47.5448 | -38.46 | -29.39 | -20.3347 | -11.2942 | -2.2684 | 6.7427 | 15.7392 | 24.7209 | 33.6879 | 42.6403 | 51.578 | 60.5011 | 69.4095 | 78.3034 | 87.1826 | 96.0472 | 104.8973 | 113.7328 | 122.5537 | 131.3601 | 140.152 | 148.9293 | 157.6922 | 166.4405 | 175.1744 | 183.8937 | 192.5987 | 201.2891 | 209.9652 | 218.6268 | 227.274 | 235.9068 | 244.5252 | 253.1293 | 261.7189 | 270.2942 | 278.8552 | 287.4019 | 295.9342 | 304.4523 | 312.956 | 321.4455 | 329.9207 | 338.3816 | 346.8283 | 355.2607 | 363.679 | 372.083 | 380.4729 | 388.8485 | 397.21 | 405.5573 | 413.8905 | 422.2095 | 430.5144 | 438.8052 | 447.082 | 455.3446 | 463.5931 | 471.8276 | 480.048 | 488.2544 | 496.4467 | 504.6251 | 512.7894 | 520.9397 | 529.0761 | 537.1985 | 545.3069 | 553.4014 | 561.482 | 569.5486 | 577.6014 | 585.6402 | 593.6652 | 601.6762 | 609.6735 | 617.6568 | 625.6264 | 633.5821 | 641.524 | 649.4521 | 657.3664 | 665.267 | 673.1537 | 681.0267 | 688.886 | 696.7316 | 704.5634 | 712.3816 | 720.186 | 727.9768 | 735.7539 | 743.5173 | 751.2671 | 759.0032 | 766.7258 | 774.4347 | 782.1301 | 789.8118 | 797.48 | 805.1346 | 812.7757 | 820.4032 | 828.0172 | 835.6177 | 843.2048 | 850.7783 | 858.3383 | 865.8849 | 873.418 | 880.9377 | 888.4439 | 895.9368 | 903.4162 | 910.8822 | 918.3349 | 925.7742 | 933.2001 | 940.6127 | 948.012 | 955.3979 | 962.7706 | 970.1299 | 977.476 | 984.8087 | 992.1283 | 999.4345 | 1006.7276 | 1014.0074 | 1021.274 | 1028.5274 | 1035.7676 | 1042.9947 | 1050.2085 | 1057.4092 | 1064.5968 | 1071.7713 | 1078.9326 | 1086.0809 | 1093.216 | 1100.3381 | 1107.4471 | 1114.543 | 1121.6259 | 1128.6957 | 1135.7526 | 1142.7964 | 1149.8273 | 1156.8451 | 1163.85
Squared | 1044484 | 1022918.9924 | 1001610.8562 | 980558.5543 | 959761.0522 | 939217.318 | 918926.3221 | 898887.0378 | 879098.4405 | 859559.5084 | 840269.2222 | 821226.5651 | 802430.5226 | 783880.0829 | 765574.2368 | 747511.9775 | 729692.3004 | 712114.2039 | 694776.6886 | 677678.7576 | 660819.4165 | 644197.6733 | 627812.5387 | 611663.0256 | 595748.1495 | 580066.9285 | 564618.3827 | 549401.5352 | 534415.4112 | 519659.0384 | 505131.4471 | 490831.6698 | 476758.7416 | 462911.7 | 449289.585 | 435891.4387 | 422716.3061 | 409763.2342 | 397031.2726 | 384519.4734 | 372226.8908 | 360152.5818 | 348295.6054 | 336655.0233 | 325229.8994 | 314019.3001 | 303022.2941 | 292237.9525 | 281665.3488 | 271303.5588 | 261151.6609 | 251208.7355 | 241473.8657 | 231946.1366 | 222624.636 | 213508.4539 | 204596.6825 | 195888.4167 | 187382.7534 | 179078.7919 | 170975.6341 | 163072.3838 | 155368.1473 | 147862.0335 | 140553.1532 | 133440.6197 | 126523.5486 | 119801.0578 | 113272.2674 | 106936.3001 | 100792.2805 | 94839.3357 | 89076.5952 | 83503.1905 | 78118.2555 | 72920.9265 | 67910.3419 | 63085.6425 | 58445.9713 | 53990.4735 | 49718.2966 | 45628.5904 | 41720.507 | 37993.2006 | 34445.8277 | 31077.5471 | 27887.5197 | 24874.9089 | 22038.8799 | 19378.6005 | 16893.2407 | 14581.9724 | 12443.9701 | 10478.4102 | 8684.4715 | 7061.335 | 5608.1838 | 4324.2032 | 3208.5808 | 2260.5063 | 1479.1716 | 863.7708 | 413.5002 | 127.5582 | 5.1454 | 45.4647 | 247.7209 | 611.1212 | 1134.8749 | 1818.1933 | 2660.2901 | 3660.3809 | 4817.6837 | 6131.4184 | 7600.8071 | 9225.0742 | 11003.4461 | 12935.1512 | 15019.4202 | 17255.4859 | 19642.5831 | 22179.9489 | 24866.8224 | 27702.4447 | 30686.0592 | 33816.9113 | 37094.2485 | 40517.3203 | 44085.3785 | 47797.6768 | 51653.4711 | 55652.0192 | 59792.5813 | 64074.4192 | 68496.7973 | 73058.9816 | 77760.2404 | 82599.8441 | 87577.0649 | 92691.1774 | 97941.4579 | 103327.185 | 108847.6393 | 114502.1032 | 120289.8614 | 126210.2005 | 132262.4092 | 138445.7782 | 144759.6002 | 151203.17 | 157775.7841 | 164476.7414 | 171305.3427 | 178260.8906 | 185342.6899 | 192550.0474 | 199882.2718 | 207338.6738 | 214918.5661 | 222621.2634 | 230446.0823 | 238392.3415 | 246459.3617 | 254646.4653 | 262952.977 | 271378.2231 | 279921.5323 | 288582.2348 | 297359.6632 | 306253.1516 | 315262.0363 | 324385.6556 | 333623.3496 | 342974.4603 | 352438.3317 | 362014.3098 | 371701.7425 | 381499.9794 | 391408.3724 | 401426.2749 | 411553.0426 | 421788.0328 | 432130.6049 | 442580.1201 | 453135.9415 | 463797.4342 | 474563.9651 | 485434.9029 | 496409.6184 | 507487.4842 | 518667.8746 | 529950.166 | 541333.7366 | 552817.9665 | 564402.2375 | 576085.9335 | 587868.4401 | 599749.1448 | 611727.437 | 623802.7079 | 635974.3504 | 648241.7595 | 660604.332 | 673061.4664 | 685612.563 | 698257.0241 | 710994.2538 | 723823.6579 | 736744.6441 | 749756.6219 | 762859.0027 | 776051.1996 | 789332.6274 | 802702.703 | 816160.8449 | 829706.4734 | 843339.0106 | 857057.8805 | 870862.5088 | 884752.3229 | 898726.7521 | 912785.2276 | 926927.182 | 941152.05 | 955459.268 | 969848.2741 | 984318.5081 | 998869.4117 | 1013500.4284 | 1028211.0032 | 1043000.5831 | 1057868.6167 | 1072814.5544 | 1087837.8483 | 1102937.9523 | 1118114.322 | 1133366.4147 | 1148693.6895 | 1164095.6071 | 1179571.6301 | 1195121.2227 | 1210743.8507 | 1226438.9818 | 1242206.0855 | 1258044.6326 | 1273954.0961 | 1289933.9502 | 1305983.6713 | 1322102.737 | 1338290.627 | 1354546.8225
Minimum | [104 empty] | 0.52
| 1.255 | 1.26 | 1.265 | 1.27 | 1.275 | 1.28 | 1.285 | 1.29 | 1.295 | 1.3 | 1.305 | 1.31 | 1.315 | 1.32 | 1.325 | 1.33 | 1.335 | 1.34 | 1.345 | 1.35 | 1.355 | 1.36 | 1.365 | 1.37 | 1.375 | 1.38 | 1.385 | 1.39 | 1.395 | 1.4 | 1.405 | 1.41 | 1.415 | 1.42 | 1.425 | 1.43 | 1.435 | 1.44 | 1.445 | 1.45 | 1.455 | 1.46 | 1.465 | 1.47 | 1.475 | 1.48 | 1.485 | 1.49 | 1.495 | 1.5 | 1.505 | 1.51 | 1.515 | 1.52 | 1.525 | 1.53 | 1.535 | 1.54 | 1.545 | 1.55 | 1.555 | 1.56 | 1.565 | 1.57 | 1.575 | 1.58 | 1.585 | 1.59 | 1.595 | 1.6 | 1.605 | 1.61 | 1.615 | 1.62 | 1.625 | 1.63 | 1.635 | 1.64 | 1.645 | 1.65 | 1.655 | 1.66 | 1.665 | 1.67 | 1.675 | 1.68 | 1.685 | 1.69 | 1.695 | 1.7 | 1.705 | 1.71 | 1.715 | 1.72 | 1.725 | 1.73 | 1.735 | 1.74 | 1.745 | 1.75 | 1.755 | 1.76 | 1.765 | 1.77 | 1.775 | 1.78 | 1.785 | 1.79 | 1.795 | 1.8 | 1.805 | 1.81 | 1.815 | 1.82 | 1.825 | 1.83 | 1.835 | 1.84 | 1.845 | 1.85 | 1.855 | 1.86 | 1.865 | 1.87 | 1.875 | 1.88 | 1.885 | 1.89 | 1.895 | 1.9 | 1.905 | 1.91 | 1.915 | 1.92 | 1.925 | 1.93 | 1.935 | 1.94 | 1.945 | 1.95 | 1.955 | 1.96 | 1.965 | 1.97 | 1.975 | 1.98 | 1.985 | 1.99 | 1.995 | 2 | 2.005 | 2.01 | 2.015 | 2.02 | 2.025 | 2.03 | 2.035 | 2.04 | 2.045 | 2.05 | 2.055 | 2.06 | 2.065 | 2.07 | 2.075 | 2.08 | 2.085 | 2.09 | 2.095 | 2.1 | 2.105 | 2.11 | 2.115 | 2.12 | 2.125 | 2.13 | 2.135 | 2.14 | 2.145 | 2.15 | 2.155 | 2.16 | 2.165 | 2.17 | 2.175 | 2.18 | 2.185 | 2.19 | 2.195 | 2.2 | 2.205 | 2.21 | 2.215 | 2.22 | 2.225 | 2.23 | 2.235 | 2.24 | 2.245 | 2.25 | 2.255 | 2.26 | 2.265 | 2.27 | 2.275 | 2.28 | 2.285 | 2.29 | 2.295 | 2.3 | 2.305 | 2.31 | 2.315 | 2.32 | 2.325 | 2.33 | 2.335 | 2.34 | 2.345 | 2.35 | 2.355 | 2.36 | 2.365 | 2.37 | 2.375 | 2.38 | 2.385 | 2.39 | 2.395 | 2.4 | 2.405 | 2.41 | 2.415 | 2.42 | 2.425 | 2.43 | 2.435 | 2.44 | 2.445 | 2.45 | 2.455 | 2.46 | 2.465 | 2.47 | 2.475 | 2.48 | 2.485 | 2.49 | 2.495 | 2.5
Req Vol | 1170.8419 | 1177.8209 | 1184.7869 | 1191.74 | 1198.6802 | 1205.6076 | 1212.522 | 1219.4235 | 1226.3122 | 1233.188 | 1240.051 | 1246.9011 | 1253.7385 | 1260.563 | 1267.3747 | 1274.1737 | 1280.9599 | 1287.7333 | 1294.494 | 1301.242 | 1307.9772 | 1314.6998 | 1321.4096 | 1328.1068 | 1334.7913 | 1341.4631 | 1348.1222 | 1354.7688 | 1361.4027 | 1368.024 | 1374.6327 | 1381.2288 | 1387.8124 | 1394.3833 | 1400.9417 | 1407.4876 | 1414.021 | 1420.5418 | 1427.0502 | 1433.546 | 1440.0294 | 1446.5003 | 1452.9587 | 1459.4047 | 1465.8382 | 1472.2594 | 1478.6681 | 1485.0645 | 1491.4484 | 1497.82 | 1504.1792 | 1510.5261 | 1516.8606 | 1523.1828 | 1529.4927 | 1535.7904 | 1542.0757 | 1548.3487 | 1554.6095 | 1560.858 | 1567.0943 | 1573.3183 | 1579.5302 | 1585.7298 | 1591.9172 | 1598.0925 | 1604.2556 | 1610.4065 | 1616.5453 | 1622.672 | 1628.7865 | 1634.889 | 1640.9793 | 1647.0576 | 1653.1237 | 1659.1779 | 1665.2199 | 1671.25 | 1677.268 | 1683.274 | 1689.268 | 1695.25 | 1701.2201 | 1707.1781 | 1713.1242 | 1719.0584 | 1724.9807 | 1730.891 | 1736.7895 | 1742.676 | 1748.5507 | 1754.4135 | 1760.2644 | 1766.1035 | 1771.9307 | 1777.7462 | 1783.5498 | 1789.3417 | 1795.1217 | 1800.89 | 1806.6465 | 1812.3913 | 1818.1243 | 1823.8456 | 1829.5553 | 1835.2532 | 1840.9394 | 1846.6139 | 1852.2768 | 1857.928 | 1863.5676 | 1869.1955 | 1874.8119 | 1880.4166 | 1886.0098 | 1891.5913 | 1897.1613 | 1902.7197 | 1908.2666 | 1913.802 | 1919.3258 | 1924.8382 | 1930.339 | 1935.8284 | 1941.3063 | 1946.7727 | 1952.2276 | 1957.6712 | 1963.1033 | 1968.524 | 1973.9333 | 1979.3312 | 1984.7178 | 1990.0929 | 1995.4568 | 2000.8092 | 2006.1504 | 2011.4802 | 2016.7988 | 2022.106 | 2027.402 | 2032.6867 | 2037.9601 | 2043.2223 | 2048.4733 | 2053.713 | 2058.9415 | 2064.1589 | 2069.365 | 2074.56 | 2079.7438 | 2084.9165 | 2090.078 | 2095.2284 | 2100.3678 | 2105.496 | 2110.6131 | 2115.7191 | 2120.8141 | 2125.898 | 2130.9709 | 2136.0327 | 2141.0836 | 2146.1234 | 2151.1523 | 2156.1701 | 2161.177 | 2166.1729 | 2171.1579 | 2176.132 | 2181.0951 | 2186.0474 | 2190.9887 | 2195.9192 | 2200.8388 | 2205.7475 | 2210.6453 | 2215.5324 | 2220.4086 | 2225.274 | 2230.1286 | 2234.9724 | 2239.8055 | 2244.6277 | 2249.4393 | 2254.24 | 2259.0301 | 2263.8094 | 2268.5781 | 2273.336 | 2278.0833 | 2282.8199 | 2287.5458 | 2292.2611 | 2296.9658 | 2301.6598 | 2306.3432 | 2311.0161 | 2315.6783 | 2320.33 | 2324.9711 | 2329.6017 | 2334.2217 | 2338.8312 | 2343.4303 | 2348.0188 | 2352.5968 | 2357.1643 | 2361.7214 | 2366.268 | 2370.8042 | 2375.3299 | 2379.8453 | 2384.3502 | 2388.8448 | 2393.3289 | 2397.8027 | 2402.2661 | 2406.7192 | 2411.162 | 2415.5944 | 2420.0166 | 2424.4284 | 2428.83 | 2433.2213 | 2437.6023 | 2441.973 | 2446.3336 | 2450.6839 | 2455.024 | 2459.3539 | 2463.6736 | 2467.9832 | 2472.2825 | 2476.5718 | 2480.8508 | 2485.1198 | 2489.3786 | 2493.6274 | 2497.866 | 2502.0946 | 2506.3131 | 2510.5215 | 2514.7199 | 2518.9083 | 2523.0866 | 2527.2549 | 2531.4133 | 2535.5616 | 2539.7
Squared | 1370870.8063 | 1387262.0631 | 1403720.079 | 1420244.342 | 1436834.3417 | 1453489.5694 | 1470209.518 | 1486993.6821 | 1503841.5579 | 1520752.6433 | 1537726.438 | 1554762.443 | 1571860.1612 | 1589019.0971 | 1606238.7569 | 1623518.6484 | 1640858.2808 | 1658257.1652 | 1675714.8144 | 1693230.7426 | 1710804.4656 | 1728435.501 | 1746123.368 | 1763867.5872 | 1781667.6811 | 1799523.1735 | 1817433.5902 | 1835398.4581 | 1853417.3061 | 1871489.6646 | 1889615.0654 | 1907793.0421 | 1926023.1299 | 1944304.8654 | 1962637.7869 | 1981021.4342 | 1999455.3488 | 2017939.0737 | 2036472.1534 | 2055054.1341 | 2073684.5634 | 2092362.9906 | 2111088.9665 | 2129862.0434 | 2148681.7752 | 2167547.7173 | 2186459.4268 | 2205416.4622 | 2224418.3836 | 2243464.7524 | 2262555.1319 | 2281689.0867 | 2300866.183 | 2320085.9884 | 2339348.0723 | 2358652.0053 | 2377997.3597 | 2397383.7092 | 2416810.6291 | 2436277.6962 | 2455784.4887 | 2475330.5864 | 2494915.5706 | 2514539.024 | 2534200.5308 | 2553899.6769 | 2573636.0494 | 2593409.237 | 2613218.8298 | 2633064.4196 | 2652945.5994 | 2672861.9638 | 2692813.109 | 2712798.6323 | 2732818.1328 | 2752871.2109 | 2772957.4686 | 2793076.509 | 2813227.9371 | 2833411.3591 | 2853626.3826 | 2873872.6167 | 2894149.6721 | 2914457.1607 | 2934794.6959 | 2955161.8926 | 2975558.3671 | 2995983.737 | 3016437.6214 | 3036919.641 | 3057429.4176 | 3077966.5746 | 3098530.7368 | 3119121.5303 | 3139738.5828 | 3160381.5232 | 3181049.9818 | 3201743.5905 | 3222461.9824 | 3243204.7921 | 3263971.6555 | 3284762.2098 | 3305576.0939 | 3326412.9477 | 3347272.4128 | 3368154.1319 | 3389057.7493 | 3409982.9104 | 3430929.2623 | 3451896.4532 | 3472884.1327 | 3493891.9518 | 3514919.5629 | 3535966.6196 | 3557032.7771 | 3578117.6916 | 3599221.021 | 3620342.4242 | 3641481.5617 | 3662638.0952 | 3683811.6878 | 3705002.0038 | 3726208.709 | 3747431.4704 | 3768669.9563 | 3789923.8364 | 3811192.7818 | 3832476.4647 | 3853774.5586 | 3875086.7386 | 3896412.6807 | 3917752.0626 | 3939104.563 | 3960469.8621 | 3981847.6411 | 4003237.5829 | 4024639.3712 | 4046052.6915 | 4067477.2303 | 4088912.6752 | 4110358.7155 | 4131815.0415 | 4153281.3447 | 4174757.3182 | 4196242.656 | 4217737.0535 | 4239240.2075 | 4260751.8158 | 4282271.5777 | 4303799.1936 | 4325334.3651 | 4346876.7953 | 4368426.1882 | 4389982.2493 | 4411544.6852 | 4433113.2039 | 4454687.5144 | 4476267.327 | 4497852.3534 | 4519442.3064 | 4541036.8999 | 4562635.8493 | 4584238.8709 | 4605845.6824 | 4627456.0027 | 4649069.5519 | 4670686.0513 | 4692305.2233 | 4713926.7917 | 4735550.4814 | 4757176.0185 | 4778803.1301 | 4800431.5449 | 4822060.9924 | 4843691.2035 | 4865321.9102 | 4886952.8458 | 4908583.7446 | 4930214.3421 | 4951844.3751 | 4973473.5815 | 4995101.7003 | 5016728.4718 | 5038353.6373 | 5059976.9394 | 5081598.1219 | 5103216.9295 | 5124833.1082 | 5146446.4052 | 5168056.5689 | 5189663.3486 | 5211266.4949 | 5232865.7596 | 5254460.8956 | 5276051.6567 | 5297637.7981 | 5319219.0761 | 5340795.2481 | 5362366.0725 | 5383931.3089 | 5405490.7181 | 5427044.062 | 5448591.1035 | 5470131.6066 | 5491665.3366 | 5513192.0597 | 5534711.5434 | 5556223.5561 | 5577727.8673 | 5599224.2478 | 5620712.4694 | 5642192.3049 | 5663663.5282 | 5685125.9144 | 5706579.2396 | 5728023.281 | 5749457.8169 | 5770882.6266 | 5792297.4906 | 5813702.1902 | 5835096.5082 | 5856480.2281 | 5877853.1346 | 5899215.0135 | 5920565.6515 | 5941904.8365 | 5963232.3574 | 5984548.0042 | 6005851.5679 | 6027142.8406 | 6048421.6153 | 6069687.6862 | 6090940.8484 | 6112180.8983 | 6133407.6329 | 6154620.8506 | 6175820.3508 | 6197005.9336 | 6218177.4006 | 6239334.554 | 6260477.1972 | 6281605.1347 | 6302718.1718 | 6323816.1151 | 6344898.7719 | 6365965.9507 | 6387017.461 | 6408053.1132 | 6429072.7187 | 6450076.09
Minimum
Min^2 | 5.1454
Answer | 0.52
Last 1/4 | 0 | 0.005 | 0.01 | 0.015 | 0.02 | 0.025 | 0.03 | 0.035 | 0.04 | 0.045 | 0.05 | 0.055 | 0.06 | 0.065 | 0.07 | 0.075 | 0.08 | 0.085 | 0.09 | 0.095 | 0.1 | 0.105 | 0.11 | 0.115 | 0.12 | 0.125 | 0.13 | 0.135 | 0.14 | 0.145 | 0.15 | 0.155 | 0.16 | 0.165 | 0.17 | 0.175 | 0.18 | 0.185 | 0.19 | 0.195 | 0.2 | 0.205 | 0.21 | 0.215 | 0.22 | 0.225 | 0.23 | 0.235 | 0.24 | 0.245 | 0.25 | 0.255 | 0.26 | 0.265 | 0.27 | 0.275 | 0.28 | 0.285 | 0.29 | 0.295 | 0.3 | 0.305 | 0.31 | 0.315 | 0.32 | 0.325 | 0.33 | 0.335 | 0.34 | 0.345 | 0.35 | 0.355 | 0.36 | 0.365 | 0.37 | 0.375 | 0.38 | 0.385 | 0.39 | 0.395 | 0.4 | 0.405 | 0.41 | 0.415 | 0.42 | 0.425 | 0.43 | 0.435 | 0.44 | 0.445 | 0.45 | 0.455 | 0.46 | 0.465 | 0.47 | 0.475 | 0.48 | 0.485 | 0.49 | 0.495 | 0.5 | 0.505 | 0.51 | 0.515 | 0.52 | 0.525 | 0.53 | 0.535 | 0.54 | 0.545 | 0.55 | 0.555 | 0.56 | 0.565 | 0.57 | 0.575 | 0.58 | 0.585 | 0.59 | 0.595 | 0.6 | 0.605 | 0.61 | 0.615 | 0.62 | 0.625 | 0.63 | 0.635 | 0.64 | 0.645 | 0.65 | 0.655 | 0.66 | 0.665 | 0.67 | 0.675 | 0.68 | 0.685 | 0.69 | 0.695 | 0.7 | 0.705 | 0.71 | 0.715 | 0.72 | 0.725 | 0.73 | 0.735 | 0.74 | 0.745 | 0.75 | 0.755 | 0.76 | 0.765 | 0.77 | 0.775 | 0.78 | 0.785 | 0.79 | 0.795 | 0.8 | 0.805 | 0.81 | 0.815 | 0.82 | 0.825 | 0.83 | 0.835 | 0.84 | 0.845 | 0.85 | 0.855 | 0.86 | 0.865 | 0.87 | 0.875 | 0.88 | 0.885 | 0.89 | 0.895 | 0.9 | 0.905 | 0.91 | 0.915 | 0.92 | 0.925 | 0.93 | 0.935 | 0.94 | 0.945 | 0.95 | 0.955 | 0.96 | 0.965 | 0.97 | 0.975 | 0.98 | 0.985 | 0.99 | 0.995 | 1 | 1.005 | 1.01 | 1.015 | 1.02 | 1.025 | 1.03 | 1.035 | 1.04 | 1.045 | 1.05 | 1.055 | 1.06 | 1.065 | 1.07 | 1.075 | 1.08 | 1.085 | 1.09 | 1.095 | 1.1 | 1.105 | 1.11 | 1.115 | 1.12 | 1.125 | 1.13 | 1.135 | 1.14 | 1.145 | 1.15 | 1.155 | 1.16 | 1.165 | 1.17 | 1.175 | 1.18 | 1.185 | 1.19 | 1.195 | 1.2 | 1.205 | 1.21 | 1.215 | 1.22 | 1.225 | 1.23 | 1.235 | 1.24 | 1.245 | 1.25
Req Vol | -1022 | -1012.9889 | -1003.9925 | -995.0108 | -986.0437 | -977.0914 | -968.1536 | -959.2306 | -950.3221 | -941.4283 | -932.549 | -923.6844 | -914.8343 | -905.9988 | -897.1779 | -888.3715 | -879.5796 | -870.8023 | -862.0395 | -853.2911 | -844.5573 | -835.8379 | -827.133 | -818.4425 | -809.7665 | -801.1049 | -792.4576 | -783.8248 | -775.2064 | -766.6024 | -758.0127 | -749.4374 | -740.8764 | -732.3298 | -723.7974 | -715.2794 | -706.7756 | -698.2862 | -689.811 | -681.3501 | -672.9034 | -664.4709 | -656.0527 | -647.6486 | -639.2588 | -630.8831 | -622.5216 | -614.1743 | -605.8412 | -597.5221 | -589.2172 | -580.9264 | -572.6497 | -564.3871 | -556.1385 | -547.9041 | -539.6836 | -531.4773 | -523.2849 | -515.1066 | -506.9422 | -498.7919 | -490.6555 | -482.5331 | -474.4247 | -466.3302 | -458.2496 | -450.183 | -442.1303 | -434.0914 | -426.0665 | -418.0554 | -410.0582 | -402.0748 | -394.1053 | -386.1496 | -378.2076 | -370.2795 | -362.3652 | -354.4647 | -346.5779 | -338.7049 | -330.8456 | -323.0001 | -315.1682 | -307.3501 | -299.5456 | -291.7549 | -283.9778 | -276.2144 | -268.4646 | -260.7284 | -253.0059 | -245.2969 | -237.6016 | -229.9198 | -222.2516 | -214.597 | -206.956 | -199.3284 | -191.7144 | -184.1139 | -176.5269 | -168.9534 | -161.3933 | -153.8468 | -146.3136 | -138.794 | -131.2877 | -123.7949 | -116.3154 | -108.8494 | -101.3967 | -93.9574 | -86.5315 | -79.1189 | -71.7196 | -64.3337 | -56.9611 | -49.6017 | -42.2557 | -34.9229 | -27.6034 | -20.2971 | -13.0041 | -5.7243 | 1.5424 | 8.7958 | 16.036 | 23.263 | 30.4769 | 37.6776 | 44.8652 | 52.0396 | 59.201 | 66.3492 | 73.4844 | 80.6064 | 87.7154 | 94.8113 | 101.8942 | 108.9641 | 116.0209 | 123.0648 | 130.0956 | 137.1135 | 144.1184 | 151.1103 | 158.0892 | 165.0553 | 172.0084 | 178.9486 | 185.8759 | 192.7903 | 199.6919 | 206.5805 | 213.4564 | 220.3193 | 227.1695 | 234.0068 | 240.8314 | 247.6431 | 254.4421 | 261.2283 | 268.0017 | 274.7624 | 281.5104 | 288.2456 | 294.9681 | 301.678 | 308.3751 | 315.0596 | 321.7314 | 328.3906 | 335.0371 | 341.671 | 348.2924 | 354.9011 | 361.4972 | 368.0807 | 374.6517 | 381.2101 | 387.756 | 394.2893 | 400.8102 | 407.3185 | 413.8144 | 420.2977 | 426.7686 | 433.227 | 439.673 | 446.1066 | 452.5277 | 458.9365 | 465.3328 | 471.7168 | 478.0884 | 484.4476 | 490.7944 | 497.129 | 503.4512 | 509.7611 | 516.0587 | 522.344 | 528.6171 | 534.8778 | 541.1264 | 547.3626 | 553.5867 | 559.7985 | 565.9982 | 572.1856 | 578.3609 | 584.524 | 590.6749 | 596.8137 | 602.9404 | 609.0549 | 615.1573 | 621.2477 | 627.3259 | 633.3921 | 639.4462 | 645.4883 | 651.5183 | 657.5363 | 663.5424 | 669.5364 | 675.5184 | 681.4884 | 687.4465 | 693.3926 | 699.3268 | 705.249 | 711.1594 | 717.0578 | 722.9444 | 728.819 | 734.6818 | 740.5327 | 746.3718 | 752.1991 | 758.0145 | 763.8182 | 769.61 | 775.3901 | 781.1584 | 786.9149 | 792.6596 | 798.3927 | 804.114
Squared | 1044484 | 1026146.5075 | 1008000.932 | 990046.4563 | 972282.2651 | 954707.5453 | 937321.4861 | 920123.2787 | 903112.1166 | 886287.1951 | 869647.712 | 853192.8671 | 836921.8623 | 820833.9017 | 804928.1914 | 789203.9398 | 773660.3572 | 758296.6561 | 743112.0513 | 728105.7594 | 713276.9992 | 698624.9917 | 684148.96 | 669848.1291 | 655721.7262 | 641768.9807 | 627989.1239 | 614381.3892 | 600945.0122 | 587679.2305 | 574583.2837 | 561656.4135 | 548897.8638 | 536306.8803 | 523882.711 | 511624.6058 | 499531.8166 | 487603.5976 | 475839.2047 | 464237.8961 | 452798.9319 | 441521.5743 | 430405.0874 | 419448.7376 | 408651.7929 | 398013.5237 | 387533.2022 | 377210.1027 | 367043.5015 | 357032.6767 | 347176.9088 | 337475.4799 | 327927.6743 | 318532.7783 | 309290.0801 | 300198.8699 | 291258.4399 | 282468.0843 | 273827.0991 | 265334.7826 | 256990.4347 | 248793.3575 | 240742.855 | 232838.2331 | 225078.7998 | 217463.8648 | 209992.7399 | 202664.7389 | 195479.1774 | 188435.3731 | 181532.6454 | 174770.3158 | 168147.7077 | 161664.1464 | 155318.9591 | 149111.475 | 143041.025 | 137106.9422 | 131308.5614 | 125645.2193 | 120116.2546 | 114721.0079 | 109458.8216 | 104329.0401 | 99331.0094 | 94464.0778 | 89727.5952 | 85120.9135 | 80643.3863 | 76294.3694 | 72073.22 | 67979.2975 | 64011.9632 | 60170.5799 | 56454.5127 | 52863.1282 | 49395.795 | 46051.8836 | 42830.7661 | 39731.8166 | 36754.4112 | 33897.9274 | 31161.745 | 28545.2453 | 26047.8115 | 23668.8286 | 21407.6836 | 19263.765 | 17236.4633 | 15325.1708 | 13529.2816 | 11848.1914 | 10281.2981 | 8828.0009 | 7487.7012 | 6259.8019 | 5143.7079 | 4138.8257 | 3244.5637 | 2460.332 | 1785.5425 | 1219.6088 | 761.9464 | 411.9723 | 169.1057 | 32.767 | 2.3788 | 77.3653 | 257.1523 | 541.1674 | 928.8402 | 1419.6017 | 2012.8847 | 2708.1239 | 3504.7556 | 4402.2177 | 5399.95 | 6497.394 | 7693.9928 | 8989.1913 | 10382.4361 | 11873.1755 | 13460.8594 | 15144.9396 | 16924.8693 | 18800.1037 | 20770.0994 | 22834.3149 | 24992.2103 | 27243.2474 | 29586.8897 | 32022.6022 | 34549.8517 | 37168.1067 | 39876.8374 | 42675.5154 | 45563.6142 | 48540.6089 | 51605.9763 | 54759.1946 | 57999.744 | 61327.106 | 64740.7639 | 68240.2028 | 71824.9091 | 75494.371 | 79248.0783 | 83085.5225 | 87006.1965 | 91009.5952 | 95095.2146 | 99262.5528 | 103511.1092 | 107840.3849 | 112249.8825 | 116739.1064 | 121307.5625 | 125954.7581 | 130680.2025 | 135483.4061 | 140363.8813 | 145321.1419 | 150354.7031 | 155464.0821 | 160648.7972 | 165908.3686 | 171242.3179 | 176650.1684 | 182131.4448 | 187685.6734 | 193312.3821 | 199011.1003 | 204781.3591 | 210622.6908 | 216534.6296 | 222516.7111 | 228568.4723 | 234689.452 | 240879.1902 | 247137.2287 | 253463.1108 | 259856.3811 | 266316.586 | 272843.2731 | 279435.9919 | 286094.293 | 292817.7288 | 299605.8531 | 306458.2211 | 313374.3897 | 320353.9171 | 327396.3631 | 334501.289 | 341668.2575 | 348896.8328 | 356186.5806 | 363537.0681 | 370947.8639 | 378418.5382 | 385948.6625 | 393537.8099 | 401185.5549 | 408891.4734 | 416655.1429 | 424476.1421 | 432354.0516 | 440288.4529 | 448278.9293 | 456325.0655 | 464426.4475 | 472582.6629 | 480793.3005 | 489057.9508 | 497376.2056 | 505747.6581 | 514171.9029 | 522648.5361 | 531177.1552 | 539757.359 | 548388.7479 | 557070.9235 | 565803.489 | 574586.0489 | 583418.209 | 592299.5767 | 601229.7607 | 610208.3709 | 619235.0189 | 628309.3176 | 637430.8811 | 646599.325
Minimum | [126 empty] | 0.63
| 1.255 | 1.26 | 1.265 | 1.27 | 1.275 | 1.28 | 1.285 | 1.29 | 1.295 | 1.3 | 1.305 | 1.31 | 1.315 | 1.32 | 1.325 | 1.33 | 1.335 | 1.34 | 1.345 | 1.35 | 1.355 | 1.36 | 1.365 | 1.37 | 1.375 | 1.38 | 1.385 | 1.39 | 1.395 | 1.4 | 1.405 | 1.41 | 1.415 | 1.42 | 1.425 | 1.43 | 1.435 | 1.44 | 1.445 | 1.45 | 1.455 | 1.46 | 1.465 | 1.47 | 1.475 | 1.48 | 1.485 | 1.49 | 1.495 | 1.5 | 1.505 | 1.51 | 1.515 | 1.52 | 1.525 | 1.53 | 1.535 | 1.54 | 1.545 | 1.55 | 1.555 | 1.56 | 1.565 | 1.57 | 1.575 | 1.58 | 1.585 | 1.59 | 1.595 | 1.6 | 1.605 | 1.61 | 1.615 | 1.62 | 1.625 | 1.63 | 1.635 | 1.64 | 1.645 | 1.65 | 1.655 | 1.66 | 1.665 | 1.67 | 1.675 | 1.68 | 1.685 | 1.69 | 1.695 | 1.7 | 1.705 | 1.71 | 1.715 | 1.72 | 1.725 | 1.73 | 1.735 | 1.74 | 1.745 | 1.75 | 1.755 | 1.76 | 1.765 | 1.77 | 1.775 | 1.78 | 1.785 | 1.79 | 1.795 | 1.8 | 1.805 | 1.81 | 1.815 | 1.82 | 1.825 | 1.83 | 1.835 | 1.84 | 1.845 | 1.85 | 1.855 | 1.86 | 1.865 | 1.87 | 1.875 | 1.88 | 1.885 | 1.89 | 1.895 | 1.9 | 1.905 | 1.91 | 1.915 | 1.92 | 1.925 | 1.93 | 1.935 | 1.94 | 1.945 | 1.95 | 1.955 | 1.96 | 1.965 | 1.97 | 1.975 | 1.98 | 1.985 | 1.99 | 1.995 | 2 | 2.005 | 2.01 | 2.015 | 2.02 | 2.025 | 2.03 | 2.035 | 2.04 | 2.045 | 2.05 | 2.055 | 2.06 | 2.065 | 2.07 | 2.075 | 2.08 | 2.085 | 2.09 | 2.095 | 2.1 | 2.105 | 2.11 | 2.115 | 2.12 | 2.125 | 2.13 | 2.135 | 2.14 | 2.145 | 2.15 | 2.155 | 2.16 | 2.165 | 2.17 | 2.175 | 2.18 | 2.185 | 2.19 | 2.195 | 2.2 | 2.205 | 2.21 | 2.215 | 2.22 | 2.225 | 2.23 | 2.235 | 2.24 | 2.245 | 2.25 | 2.255 | 2.26 | 2.265 | 2.27 | 2.275 | 2.28 | 2.285 | 2.29 | 2.295 | 2.3 | 2.305 | 2.31 | 2.315 | 2.32 | 2.325 | 2.33 | 2.335 | 2.34 | 2.345 | 2.35 | 2.355 | 2.36 | 2.365 | 2.37 | 2.375 | 2.38 | 2.385 | 2.39 | 2.395 | 2.4 | 2.405 | 2.41 | 2.415 | 2.42 | 2.425 | 2.43 | 2.435 | 2.44 | 2.445 | 2.45 | 2.455 | 2.46 | 2.465 | 2.47 | 2.475 | 2.48 | 2.485 | 2.49 | 2.495 | 2.5
Req Vol | 809.8236 | 815.5215 | 821.2077 | 826.8823 | 832.5451 | 838.1964 | 843.8359 | 849.4639 | 855.0802 | 860.685 | 866.2781 | 871.8597 | 877.4297 | 882.9881 | 888.535 | 894.0704 | 899.5942 | 905.1065 | 910.6074 | 916.0967 | 921.5746 | 927.041 | 932.496 | 937.9395 | 943.3716 | 948.7924 | 954.2017 | 959.5996 | 964.9861 | 970.3613 | 975.7251 | 981.0776 | 986.4187 | 991.7486 | 997.0671 | 1002.3744 | 1007.6703 | 1012.955 | 1018.2284 | 1023.4906 | 1028.7416 | 1033.9813 | 1039.2099 | 1044.4272 | 1049.6334 | 1054.8284 | 1060.0122 | 1065.1848 | 1070.3464 | 1075.4968 | 1080.6361 | 1085.7643 | 1090.8814 | 1095.9875 | 1101.0824 | 1106.1664 | 1111.2392 | 1116.3011 | 1121.3519 | 1126.3918 | 1131.4206 | 1136.4385 | 1141.4454 | 1146.4413 | 1151.4263 | 1156.4004 | 1161.3635 | 1166.3157 | 1171.2571 | 1176.1875 | 1181.1071 | 1186.0158 | 1190.9137 | 1195.8007 | 1200.6769 | 1205.5424 | 1210.397 | 1215.2408 | 1220.0738 | 1224.8961 | 1229.7076 | 1234.5084 | 1239.2984 | 1244.0778 | 1248.8464 | 1253.6044 | 1258.3516 | 1263.0882 | 1267.8141 | 1272.5294 | 1277.2341 | 1281.9281 | 1286.6116 | 1291.2844 | 1295.9467 | 1300.5984 | 1305.2395 | 1309.87 | 1314.4901 | 1319.0996 | 1323.6986 | 1328.2871 | 1332.8651 | 1337.4327 | 1341.9897 | 1346.5364 | 1351.0725 | 1355.5983 | 1360.1136 | 1364.6186 | 1369.1131 | 1373.5973 | 1378.0711 | 1382.5345 | 1386.9876 | 1391.4304 | 1395.8628 | 1400.2849 | 1404.6968 | 1409.0983 | 1413.4896 | 1417.8706 | 1422.2414 | 1426.6019 | 1430.9523 | 1435.2924 | 1439.6223 | 1443.942 | 1448.2515 | 1452.5509 | 1456.8401 | 1461.1192 | 1465.3881 | 1469.647 | 1473.8957 | 1478.1344 | 1482.3629 | 1486.5814 | 1490.7898 | 1494.9882 | 1499.1766 | 1503.3549 | 1507.5233 | 1511.6816 | 1515.83 | 1519.9684 | 1524.0968 | 1528.2152 | 1532.3238 | 1536.4224 | 1540.5111 | 1544.5899 | 1548.6588 | 1552.7179 | 1556.767 | 1560.8064 | 1564.8358 | 1568.8555 | 1572.8653 | 1576.8654 | 1580.8556 | 1584.8361 | 1588.8068 | 1592.7677 | 1596.7189 | 1600.6604 | 1604.5921 | 1608.5141 | 1612.4265 | 1616.3291 | 1620.2221 | 1624.1054 | 1627.9791 | 1631.8431 | 1635.6976 | 1639.5424 | 1643.3776 | 1647.2032 | 1651.0192 | 1654.8257 | 1658.6226 | 1662.41 | 1666.1878 | 1669.9562 | 1673.715 | 1677.4644 | 1681.2042 | 1684.9346 | 1688.6555 | 1692.367 | 1696.0691 | 1699.7617 | 1703.445 | 1707.1188 | 1710.7833 | 1714.4384 | 1718.0841 | 1721.7204 | 1725.3475 | 1728.9652 | 1732.5736 | 1736.1727 | 1739.7625 | 1743.3431 | 1746.9143 | 1750.4764 | 1754.0291 | 1757.5727 | 1761.107 | 1764.6322 | 1768.1481 | 1771.6549 | 1775.1525 | 1778.6409 | 1782.1202 | 1785.5904 | 1789.0514 | 1792.5033 | 1795.9462 | 1799.3799 | 1802.8046 | 1806.2202 | 1809.6268 | 1813.0243 | 1816.4129 | 1819.7924 | 1823.1629 | 1826.5244 | 1829.8769 | 1833.2205 | 1836.5551 | 1839.8808 | 1843.1975 | 1846.5054 | 1849.8043 | 1853.0944 | 1856.3755 | 1859.6478 | 1862.9112 | 1866.1658 | 1869.4116 | 1872.6485 | 1875.8767 | 1879.096 | 1882.3066 | 1885.5084 | 1888.7014 | 1891.8856 | 1895.0612 | 1898.228
Squared | 655814.2664 | 665075.3235 | 674382.1161 | 683734.2653 | 693131.3935 | 702573.1245 | 712059.0835 | 721588.897 | 731162.1929 | 740778.6004 | 750437.75 | 760139.2737 | 769882.8047 | 779667.9777 | 789494.4285 | 799361.7943 | 809269.7139 | 819217.827 | 829205.775 | 839233.2004 | 849299.7471 | 859405.0602 | 869548.7863 | 879730.5732 | 889950.07 | 900206.9272 | 910500.7965 | 920831.3309 | 931198.1848 | 941601.0137 | 952039.4747 | 962513.2258 | 973021.9267 | 983565.238 | 994142.8218 | 1004754.3415 | 1015399.4617 | 1026077.8482 | 1036789.1682 | 1047533.0902 | 1058309.2837 | 1069117.4197 | 1079957.1705 | 1090828.2095 | 1101730.2114 | 1112662.8522 | 1123625.809 | 1134618.7604 | 1145641.386 | 1156693.3668 | 1167774.3849 | 1178884.1238 | 1190022.2681 | 1201188.5037 | 1212382.5177 | 1223603.9983 | 1234852.6352 | 1246128.1191 | 1257430.1419 | 1268758.397 | 1280112.5786 | 1291492.3825 | 1302897.5053 | 1314327.6452 | 1325782.5013 | 1337261.7741 | 1348765.1652 | 1360292.3774 | 1371843.1147 | 1383417.0822 | 1395013.9864 | 1406633.5348 | 1418275.4361 | 1429939.4002 | 1441625.1383 | 1453332.3625 | 1465060.7863 | 1476810.1242 | 1488580.0921 | 1500370.4068 | 1512180.7864 | 1524010.9502 | 1535860.6184 | 1547729.5127 | 1559617.3558 | 1571523.8714 | 1583448.7845 | 1595391.8212 | 1607352.7088 | 1619331.1757 | 1631326.9513 | 1643339.7664 | 1655369.3526 | 1667415.443 | 1679477.7715 | 1691556.0732 | 1703650.0845 | 1715759.5426 | 1727884.1862 | 1740023.7547 | 1752177.9889 | 1764346.6307 | 1776529.4228 | 1788726.1093 | 1800936.4354 | 1813160.1473 | 1825396.9921 | 1837646.7184 | 1849909.0756 | 1862183.8143 | 1874470.6861 | 1886769.4437 | 1899079.8409 | 1911401.6326 | 1923734.5748 | 1936078.4245 | 1948432.9397 | 1960797.8796 | 1973173.0044 | 1985558.0754 | 1997952.855 | 2010357.1064 | 2022770.5942 | 2035193.0838 | 2047624.3418 | 2060064.1357 | 2072512.2342 | 2084968.407 | 2097432.4246 | 2109904.059 | 2122383.0828 | 2134869.2699 | 2147362.395 | 2159862.2341 | 2172368.564 | 2184881.1626 | 2197399.8088 | 2209924.2826 | 2222454.3649 | 2234989.8377 | 2247530.484 | 2260076.0876 | 2272626.4337 | 2285181.3082 | 2297740.498 | 2310303.7911 | 2322870.9765 | 2335441.8442 | 2348016.1851 | 2360593.7912 | 2373174.4554 | 2385757.9715 | 2398344.1346 | 2410932.7403 | 2423523.5857 | 2436116.4684 | 2448711.1874 | 2461307.5422 | 2473905.3337 | 2486504.3636 | 2499104.4344 | 2511705.3498 | 2524306.9143 | 2536908.9334 | 2549511.2137 | 2562113.5625 | 2574715.7881 | 2587317.7 | 2599919.1083 | 2612519.8242 | 2625119.6598 | 2637718.4283 | 2650315.9435 | 2662912.0205 | 2675506.4751 | 2688099.124 | 2700689.785 | 2713278.2767 | 2725864.4186 | 2738448.0312 | 2751028.9359 | 2763606.9549 | 2776181.9115 | 2788753.6298 | 2801321.9347 | 2813886.6522 | 2826447.6092 | 2839004.6332 | 2851557.553 | 2864106.1981 | 2876650.3988 | 2889189.9864 | 2901724.7931 | 2914254.6519 | 2926779.3969 | 2939298.8628 | 2951812.8853 | 2964321.3011 | 2976823.9474 | 2989320.6628 | 3001811.2863 | 3014295.6581 | 3026773.619 | 3039245.0109 | 3051709.6764 | 3064167.4589 | 3076618.2029 | 3089061.7536 | 3101497.957 | 3113926.6601 | 3126347.7106 | 3138760.9571 | 3151166.2491 | 3163563.4369 | 3175952.3716 | 3188332.9052 | 3200704.8904 | 3213068.1809 | 3225422.6312 | 3237768.0965 | 3250104.433 | 3262431.4976 | 3274749.148 | 3287057.2429 | 3299355.6416 | 3311644.2044 | 3323922.7922 | 3336191.2669 | 3348449.4911 | 3360697.3283 | 3372934.6427 | 3385161.2993 | 3397377.1641 | 3409582.1036 | 3421775.9853 | 3433958.6774 | 3446130.049 | 3458289.9698 | 3470438.3105 | 3482574.9424 | 3494699.7377 | 3506812.5693 | 3518913.3111 | 3531001.8373 | 3543078.0235 | 3555141.7455 | 3567192.8801 | 3579231.3051 | 3591256.8987 | 3603269.54
Minimum
Min^2 | 2.3788
Answer | 0.63